Faculty of Science

P.O. Box 77000

Port Elizabeth

6031

South Africa

Chemical Hygiene

Manual

Draft

Table of Contents

INTRODUCTION	6

PART A	7

Laboratory Safety at NMU	7

Introduction	7

Occupational Health and Safety Requirements	7

Roles and Responsibilities	9

Environmental Health and Safety Committee (EHS)	9

Dean	9

Head of Department (HOD)	9

Chemical Hygiene Officer (CHO)	10

Laboratory Safety Officer (LSO)	10

Lecturer/Laboratory Supervisor	11

Laboratory Worker / Student	11

Part B	13

Laboratory Safety Manuals	13

Chemical Hygiene Plan	13

Scope and Application	13

Laboratory Safety Manuals	14

Information and Training	15

Laboratory Safety Training	16

Departmental Information and Training	16

Training Records	17

Medical Examinations and Consultations	17

Medical Consultation Policy	18

Incident Reporting	18

Medical Consultation Procedure	18

Laboratory Inspections and Audits	18

Laboratory Inspections:	19

Part C	20

Emergency Procedures	20

Fire	20

Medical Emergencies	21

First Aid Kits	21

Chemical Exposures	21

Chemicals on Skin or Clothing	22

Chemicals in Eyes	22

Chemical Inhalation	22

Accidental Ingestion of Chemicals	22

Accidental Injection of Chemicals	23

Emergency Information Posters	23

Reporting Accidents and Injuries	24

Part D	25

Health Hazards of Chemicals	25

Introduction	25

Basic Toxicology	25

Routes of Entry	26

Skin and Eye Contact	26

Inhalation	26

Ingestion	27

Injection	27

Toxic Effects of Chemical Exposure	28

Toxic Effects of Chemicals	28

Evaluating Toxicity Data	28

Susceptibility of Individuals	29

Particularly Hazardous Substances	29

Where To Find Toxicity Information	29

Chemical Exposure Determination	29

Exposure Monitoring	30

Part E	31

Chemical and Hazard Identification	31

Chemical and Hazard Identification and Information	31

Container Labels	31

MATERIAL SAFETY DATA SHEETS (MSDS)	32

Hazard Identification	32

Standard Operating Procedures	32

Controlling Chemical Exposure	32

Control Measures	33

Administrative Controls	33

Prior Approval for Laboratory Procedures	33

Particularly Hazardous Substances	34

Part F	35

Controlling Chemical Exposures	35

Fume Hoods and Laboratory Ventilation	35

Hood Face Velocity	35

How a fume hood works	36

Using Chemical Fume Hoods	36

When is a fume hood necessary?	36

Good Work Practices	37

Common Misuses and Limitations	39

Hood Performance	42

Hood Survey Sticker	42

Evaluation and Maintenance Program	42

Personal Protective Equipment	43

Eye Protection	43

Protective Clothing, Footwear & Gloves	44

Hearing Protection	49

Respiratory Protection	49

Part G	50

Standard Operating Procedures	50

General Philosophy	50

General Laboratory Rules	50

Personal Behaviour	50

Chemical Handling	51

Planning	52

Scaled-up Reactions	53

Unattended Operations	54

Working Alone	55

Chemical Storage	55

General Considerations	55

Segregation of Chemicals	56

Flammable Liquids	57

Unstable Chemicals	57

Designated Areas	57

Compressed Gases	57

Combustible Materials	57

Chemical Transportation	58

Flammable Material	58

Properties of Flammable and Combustible Liquids	58

Storage of Flammable and Combustible Liquids	58

Safety Cans and Closed Containers	59

Flammable Liquid Storage Cabinets	59

Refrigerators	59

Storage Considerations	59

Handling Precautions	59

Flammable Aerosols	60

Flammable and Combustible Solids	60

Catalyst Ignition	61

Peroxide Forming Compounds	61

Recommended Practices	61

Examples of Peroxidizable Compounds	62

Detection of Peroxides	63

Removal of Peroxides	63

Corrosive Materials	63

Corrosive Liquids	63

Corrosive Gases and Vapors	64

Corrosive Solids	64

Compressed Gases	65

Hazards	65

Handling Precautions	66

Storage of Compressed Gas Cylinders	66

Using Compressed Gas Cylinders	67

Assembly of Equipment and Piping	67

Leaking Cylinders	68

Empty Cylinders	68

Flammable Gases	68

Highly Toxic Gases	68

Gases Requiring Special Handling	69

Cryogenics	69

Handling Cryogenic Liquids	70

Protective Clothing	70

Cooling Baths and Dry Ice	70

Liquid Nitrogen Cooled Traps	71

Electrical Safety	71

Electrical Hazards	71

Power Loss	72

Preventing Electrical Hazards	72

Safe Work Practices	74

High Voltage or Current	74

Altering Building Wiring and Utilities	74

Pressure and Vacuum Systems	74

High Pressure Vessels	74

Vacuum Apparatus	75

Glass Vessels	75

Dewar Flasks	76

Rotovaps	76

Waste  Disposal	76

Basic Procedures	78

Chemical Spills	78

Spill Response and Clean-up Procedures	78

Developing a Spill Response Plan	79

Recommended Spill Control Materials Inventory	80

Personal Protective Equipment	80

Absorption Materials	80

Neutralizing Materials	80

Mercury Spills	81

Clean-up Tools	81

APPENDIX A	82

APPENDIX B	84

APPENDIX C	89

APPENDIX D	90

APPENDIX E	93

APPENDIX F	95

Occupational Health and Safety Act, 1993 Hazardous Chemical Substances Regulations, 1995  Annexure 1 Carcinogenic Compounds	95

# INTRODUCTION

The NMU, through various levels of supervisors and the active involvement of its employees and students is committed to providing a safe environment in which the teaching, research and service activities can be carried out. Not only is this a legal requirement and moral obligation, it is part of its educational mission.

The very nature of laboratory activities involves some measure of risk. It is incumbent upon administrators, teaching and research staff and students to keep these risks to a minimum not only to protect themselves, but also other building occupants and users. All reasonably achievable measures will be taken to eliminate injuries and prevent exposure to hazardous materials and to develop, adopt and teach responsible and prudent laboratory practices which go beyond the minimum legislative requirements and standards.

This Manual is intended to provide the basic framework of a safety program, which is to be adopted throughout the university in teaching, research and service activities. It is understood that this Manual is generic in nature and will need to be supplemented with specific procedures/requirements for individual faculties, departments and/or laboratories to control the hazards related to specific activities.

Compiled by:			Ben Zeelie (Prof)		Babrie Schoonees (Dr)

Date:				12 April 2000

Updated:			Ernst Ferg (Dr)

Date:				1 March 2005

Updated:                             Ernst Ferg (Prof)

Date:                                   19 October 2020

# PART A

# Laboratory Safety at NMU

Introduction

Occupational Health and Safety Requirements

Roles and Responsibilities

## Introduction

The Nelson Mandela University is committed to providing a safe laboratory environment for its faculty, staff, students and visitors. The goal of the Chemical Hygiene Program (CHP) is to minimize the risk of injury or illness to laboratory workers by ensuring that they have the training, information, support and equipment needed to work safely in the laboratory.

The three basic elements of the CHP are:

- The departmental chemical hygiene program led by the Chemical Hygiene Officer (CHO);

- Laboratory safety support and training by the Environmental Health and Safety Committee (EHS);

- Instruction and supervision by an individual's supervisor or lecturer.

All laboratory workers, including faculty, staff and post-graduate students, are required to attend Laboratory Safety Training specified by the CHO. This training gives an overview of general laboratory safety principles, references and resources for more specific safety information, and details about several support programs, such as the hazardous waste disposal program. The training supplements instruction given by supervisors and lecturers regarding safe work practices for specific chemicals and equipment.

## Occupational Health and Safety Requirements

The South African Occupational Health and Safety Act 1993 and its regulations (OHS Act), instructs that

every employer shall provide and maintain, as far as is reasonably practicable, a working environment that is safe and without risk to the health of his employees.

The act provides that an employer may at any time be directed

to prepare a written policy concerning the protection of the health and safety of his employees at work, including a description of this organization and the arrangement for carrying out and reviewing that policy.

In accordance to this act, a Chemical Hygiene Plan (CHP) is hereby proposed, April 2000, for the Nelson Mandela University.

The purpose of the OHS Act and the CHP is to minimize injuries and illnesses to laboratory workers that may arise in the course of research and teaching using hazardous chemical substances.

The CHP will furthermore steer the University to be within the South African Health and Safety regulations concerning the use of Hazardous Chemical Substances, since non-compliance to the regulations provided in the act is viewed as an offence and may lead to conviction to various fines or to imprisonment.

Hazardous Chemical Substance. HCS or hazardous chemical substance means any toxic, harmful, corrosive, irritant or asphyxiant substance, or a mixture of such substances, for which:

a) an occupational exposure limit is prescribed;

b) an occupational exposure limit is not prescribed, but which creates a hazard to health.

- A chemical is a physical hazard if there is scientifically valid evidence that it is a combustible liquid, compressed gas, explosive, flammable, organic peroxide, oxidizer, corrosive, pyrophoric or reactive.

- A chemical is a health hazard if there is statistically significant evidence, based on at least one study conducted in accordance with established scientific principles that acute or chronic health effects may occur in exposed employees. Health hazards may include:

| Carcinogens | Irritants | Reproductive toxins |
| --- | --- | --- |
| Corrosives | Mutagens | Teratogens |
| Sensitizers | Neurotoxins |  |

A chemical is considered hazardous if it is listed in any of the following publications:

- Hazardous Substances Act 1973 (Group I, II, III and IV)

- Threshold Limit Values for Chemical Substances and Physical Agents in the Work Environment, Latest Edition (ACGIH)

- The Registry of Toxic Effects of Chemical Substances (RTECS) Latest Edition (NIOSH)

By these definitions, over 60,000 chemicals may be considered hazardous.

All individuals who work with hazardous chemicals in science and engineering laboratories are obligated to comply with the CHP.

For more information about how a particular laboratory complies with the CHP, see the individual laboratory safety manuals.

## Roles and Responsibilities

Environmental Health and Safety Unit

Dean

Head of Department

Chemical Hygiene Officer

Laboratory Safety Officer

Lecturer/Laboratory Supervisor

Laboratory Worker / Student

The OHS Act instructs that

every employer who has more than 20 employees in his employment at any workplace, shall designate in writing for a specified period health & safety representatives for such workplace, or for different sections thereof.

An employer shall… where two or more representatives have been designated… establish one or more health and safety committees, and… consult with the committee with a view to initiating, developing, promoting, maintaining and reviewing measures to ensure the health and safety of his employees at work.

Although some provisions are made, the functioning of such a committee is largely determined by the committee itself.

In view of the obligations mandated on the University, the successful implementation of a chemical hygiene plan imposes specific duties and responsibilities throughout the Institution.  The CHP therefore necessitates a reputable structure as defined below:

### Environmental Health and Safety Committee (EHS)

The EHS shall:

- Discuss any incident in which or in consequence of which any person was injured, became ill or died

- Develop and review the model CHP at least annually

- Develop and implement Institution safety and inspection training programs

- Maintain a record of all health and safety activities

### Dean

The Director/Dean shall insure that adequate resources are committed to the plan, and that laboratory personnel will meet their individual responsibilities.

### Head of Department (HOD)

Department Heads shall insure that the scientific staff and personnel in their laboratories are aware of the CHP, and of their responsibilities for its implementation. S/he shall also cooperate with the Director/Dean to ensure the availability of resources for the implementation and maintenance of the CHP. S/he shall also audit departmental hygiene (safety) programs periodically (suggested biannually).

### Chemical Hygiene Officer (CHO)

The Safety Officer, or such other person designated by the Dean/Head of Department as the Chemical Hygiene Officer for a specified campus where faculties or departments exist that make use of chemicals in any form for teaching or research purposes. The CHO shall:

- Make recommendations regarding the health and safety of laboratory workers

- Develop the Chemical Hygiene Plan for the campus and conduct an annual review of the plan, making any necessary changes

- Arrange exposure monitoring of the laboratory space or workers by an Approved Inspection Authority (AIAC), as needed.

- Provide safe working guidelines for laboratory workers

- Provide general safety training

- Assist administrators and other employees to develop and implement appropriate policies and procedures for working safely with chemicals

- Provide technical assistance for compliance with the Plan

- Provide chemical safety information to employees through "hard" resources as well as training sessions

- Monitor procurement, use and disposal of chemicals

- Inspect fume hoods annually

- Provide consultation for safe work practices for hazardous chemicals

- Conduct limited laboratory safety inspections with the LSO annually

- Assist laboratory supervisors and lecturers in the selection of appropriate safety practices and engineering controls for present and future projects

- Determine when an "exposure assessment" is appropriate, and arrange the assessment with the campus’ medical unit

- Investigate all accidents which result in exposure of persons or the environment to harmful chemical effects

- Supervise or assist in cleanup and/or decontamination in the event of accidental release of chemical substances

- Maintain current information on the legal requirements and the hazards of working with chemicals

- Maintain a record of all employee exposures

- Issue, fit, and train personnel with proper personal protective equipment for working conditions

### Laboratory Safety Officer (LSO)

Each Laboratory has an appointed Safety Officer who shall, in consultation with the CHO, be responsible for:

- Development and maintenance of the Laboratory Safety Manual specific to that laboratory

- Implementation of the regulations as specified in the Laboratory Safety Manual

- Monitor procurement, use and disposal of chemicals

- Report all accidents which result in exposure of persons or the environment to harmful chemical effects to CHO

- Maintain a central file of Material Safety Data Sheets (MSDS) and ensuring that the necessary information of the chemicals used by the researcher / student are in place

- Inspect safety showers, eye-washes, and fume hoods as required by regulations, ensuring that the eye wash bottles are cleaned regularly

- Supervise or assist in cleanup and/or decontamination in the event of accidental release of chemical substances

### Lecturer/Laboratory Supervisor

The Lecturer (Promoter) or Supervisor has the primary responsibility for chemical safety and health in the laboratory. This includes the following:

- Acquiring the knowledge and information needed to recognize and control chemical hazards

- Selecting and implementing laboratory practices and engineering controls to minimize potential for exposure to hazardous chemicals

- Training laboratory workers in the potential hazards associated with chemicals used in the laboratory, laboratory practices, use of engineering controls, and emergency procedures

- Supervising laboratory personnel to insure that required practices and procedures are followed

- Insuring that equipment and protective devices are maintained in good working order

- Obtaining prior approval, when required, for work with particularly hazardous substances

- Developing an understanding of the legal regulations for use of hazardous substances in the laboratory

- Reporting all work-related injuries or illnesses to the LSO

- Updating the chemical inventory routinely, as determined by the LSO

### Laboratory Worker / Student

The laboratory worker / student using chemicals shall be responsible for:

- Obeying lawful instruction by CHO and LSO via training or guidance given in the laboratory

- Being aware of hazards associated with the chemicals used in the laboratory

- Handling and storing chemicals in a safe manner

- Following Standard Operating Procedures (SOP)'s developed for the University and the laboratory

- Developing good chemical hygiene work habits

- Reporting unsafe conditions to the supervisor, lecturer or LSO

- Reporting injuries or illnesses to the supervisor/lecturer and the LSO

The Lecturer, Supervisor and Laboratory Worker / Student share the responsibility for labelling chemical and waste containers properly, and for informing visitors of the potential hazards and the related safety rules and precautions.

# Part B

# Laboratory Safety Manuals

Chemical Hygiene Plan

Scope and Application

Laboratory Safety Manuals

Information and Training

Medical Examinations and Consultations

Laboratory Inspections and Audits

## Chemical Hygiene Plan

While it remains the responsibility of the employer to ensure that the employee is adequately and comprehensively informed and trained before being exposed, the purpose of the Chemical Hygiene Plan is to provide guidelines for prudent work practices and procedures for the laboratory use of chemicals, and to protect laboratory workers from the potential health hazards of the chemicals they encounter in the workplace. This is achieved by the provision of the overall chemical hygiene plan together with laboratory safety manuals for individual laboratories. All laboratory workers must be made aware of this plan. New employees should review the plan and receive safety training before beginning work with hazardous chemicals. The plan is available to all laboratory workers at all times.

## Scope and Application

The Chemical Hygiene Plan covers employees who work with hazardous chemicals in laboratories. At the Nelson Mandela University, this plan applies to all individuals working in any of the following departments:

Nelson Mandela University (North Campus)

Department of Chemistry

Department of Agriculture and Game Ranch Management

Department of Mathematical Sciences

Department of Leather Technology

Department of Environmental Health  and Biomedical Sciences

NMU (South Campus)

Department of Chemistry

Department of Physics

Department of Biochemcistry and Microbiology

Department of Botany

Department of Geography and Geology

Department of Textile Science

Department of Zoology

Department of Physiology

NMU (George Campus Saasveld)

???

NMU (George Campus York Street)

 ?????

NMU (Vista Campus)

????

NMU (Algoa Campus)
????

## Laboratory Safety Manuals

Each group of the departments as indicated above have their own Laboratory Safety Manual that covers operations and activities in their particular laboratories. Each manual is always present in the respective laboratory and is clearly marked for easy location. The manuals follow the same basic layout and contain the following information:

Responsible Laboratory Safety Officer (LSO)

Each laboratory has its own laboratory safety officer and the name and contact details of the person responsible for a particular laboratory appears at the front of the safety manual.

General Laboratory Safety Rules

These rules are common to all laboratories.

Standard Operating Procedures (SOP’s)

Laboratory safety protocols for working alone, unattended operations, vacating laboratories, visitors in laboratories, storage of chemicals, moving of chemicals and equipment, use of refrigerators and cold rooms, etc. appear in this section. The individual standard operations may differ substantially from laboratory to laboratory.

Emergency Procedures and Equipment

Written emergency procedures for fires, spills, gas leaks, exposures and other likely laboratory accidents.

Incident Reporting Procedures

Procedures for reporting incidents, request for maintenance, etc.

Waste Disposal Procedures

Procedures for disposing laboratory and chemical waste.

## Information and Training

According to the South African OHS Act, it is the responsibility of the employer,

Before any employee is exposed or may be exposed,…. [to] ensure that the employee is adequately and comprehensively informed and trained to:

- the contents and scope of these regulations;

- the potential source exposure;

- the potential risks to health caused by exposure;

- the potential detrimental effect of exposure on his or her reproductive ability;

- the measures to be taken by the employers to protect an employee against any risk from exposure;

- the precautions to be taken by an employee to protect himself against the health risks associated with such exposure, including the wearing and use of protective clothing and respiratory protective equipment.

- the necessity, correct use, maintenance and potential of safety equipment, facilities and engineering control measures provided;

- the necessity of personal air sampling and medical surveillance;

- the importance of good housekeeping at the workplace and personal hygiene;

- the safe working procedures regarding the use, handling, storage and labelling of the HCS at the workplace; and

- procedures to be followed in the event of spillages, leakages or any similar emergency situation which could take place by accident.

An employee shall also

ensure that he himself or she herself or any other person who in any manner assists him or her in the carrying out or the conducting of his or her business, have the necessary information and has undergone sufficient training in order for him or her to identify the potential risks and precautions which should be taken.

All laboratory workers must therefore receive laboratory safety training when they are first assigned to a work area where hazardous chemicals are present and before assignments involving new exposure situations. General laboratory safety training is provided by EHS. Specific training for particular materials or operations in a particular work area is provided by the supervisor, lecturer, laboratory supervisor and/or student assistants.

### Laboratory Safety Training

The CHO provides Laboratory Safety Training sessions each semester and upon request. The general training offered by the CHO covers the following topics and is mainly aimed at the LSO and other laboratory responsible people:

- An overview of the OSH Act Regulations.

- The content and availability of the Chemical Hygiene Plan and Laboratory Safety Manual.

- The availability of material safety data sheets and how to use them.

- An explanation of permissible exposure limits for chemicals.

- An overview of methods to recognize hazards, how to evaluate hazards, and common methods to prevent and control exposure.

- The use, function and selection of personal protective equipment.

- Emergency procedures for fire, injury, chemical exposure, and chemical spill situations.

- Chemical waste disposal procedures.

- The prevention of hazardous chemical substances from being released.

- The wearing of personal protective equipment.

- The cleaning up and disposal of materials containing hazardous chemical substances.

- Housekeeping at the workplace, personal hygiene and environmental and health practices.

### Departmental Information and Training

The LSO would in-turn train and inform the research students or others working in their laboratory of the following information

- Location of the Chemical Hygiene Plan, Departmental Hygiene Plan and Lab Safety Manuals.

- Nature and potential health and safety risks of specific hazardous substances used by the laboratory worker. Each supervisor ensures that each individual working in his or her laboratory understands the hazards of and how to properly handle the materials in the laboratory. The supervisor maintains relevant files in the laboratory.

- Proper handling, under all circumstances, of hazardous substances used in the laboratory.

- Location and availability of reference materials, including access to MSDS data sheets for hazardous chemicals used or stored in the laboratory.

- Emergency Procedures, location of emergency equipment and aids.

### Training Records

CHO maintains a database of attendance for training sessions given by the LSO.  Attendance lists are sent to the Chemical Hygiene Officer after each LSO training session.

## Medical Examinations and Consultations

Medical Surveillance is defined

to cover the spectrum of potential effects of an hazardous chemical substance on an employee, from absorption of the substances through to clinical disease.

The South African OHS Act makes provision for medical surveillance where an employer must ensure:

a) an initial health evaluation is carried out by an occupational health practitioner immediately before or within 14 days after a person commences employment, where any exposure exists or may exist, which comprises:

i.	an evaluation of the employees medical and occupational history;

ii.	a physical examination; and

iii.	any other essential examination which in the opinion of the occupational health practitioner is desirable in order to enable the practitioner to do a proper evaluation.

b) that subsequent to the initial health evaluation contemplated in paragraph (a) the relevant employee undergoes examinations as contemplated in paragraph (a)(ii) and (iii), at intervals not exceeding two years, or at intervals specified by an occupational medical practitioner.

It remains the responsibility of the employer to ensure medical surveillance of an employee under the appropriate conditions.

### Medical Consultation Policy

Laboratory workers should seek medical attention from their closest medical practitioner under the following conditions:

- If the individual experiences signs or symptoms associated with a hazardous chemical to which he or she may have been exposed in the laboratory.

- Where exposure monitoring reveals an exposure level routinely above the OSH Act action level or permissible exposure limit.

- Whenever a spill, leak, explosion or other occurrence results in the likelihood of a hazardous exposure to a laboratory worker.

The closest medical practitioners for each of the following geographical campus’ must be specified in each of the laboratory safety manuals and are:

Nelson Mandela University (North Campus): ??

Nelson Mandela University (South Campus):??

Nelson Mandela University (George Campus Saasveld):??
Nelson Mandela University (George Campus York Street):??
Nelson Mandela University (Missionvale Campus):??

### Incident Reporting

In the event of any incident that results in a possible overexposure to a chemical, regardless of whether any signs or symptoms of exposure are noted or whether the laboratory worker seeks medical attention, the laboratory worker should complete the Incident Report Form. An example of such a Form is shown in Appendix A and should be made available from the LSO and with every laboratory safety manual. The form must be submitted to the CHO and copies forwarded to EHS, the Dean and Head of Department.

### Medical Consultation Procedure

In an emergency situation, the laboratory worker should immediately be taken to the campus’ Health Services as appropriate. For a non-emergency exposure situation, the laboratory worker or supervisor should contact the relevant nurse on duty at the respective telephone numbers indicated in the laboratory safety manual. The laboratory worker, supervisor, or LSO must provide her with the identity of the hazardous chemicals encountered in the workplace and the conditions by which the worker was exposed. If available, the material safety data sheet or other safety information resource should be provided to the physician.

## Laboratory Inspections and Audits

### Laboratory Inspections:

LSO must conduct a limited laboratory inspection (once a term). A summary of the inspection results and copies of the inspection forms are provided to the CHO and are shown in Appendix B.

Fire Extinguishers:

Fire extinguishers are inspected twice a year by “Fire and General” personnel. Should a fire extinguisher be used or if the inspection is out-of-date, contact the Head of Campus Control. Ensure that the incident report is completed after using a fire extinguisher.

Safety Showers and Eyewash Fountains:

LSO must inspect all safety showers and eyewash fountains quarterly to ensure that they are in good working order and report any malfunctions to technical services. All eyewash bottles must be maintained in good working order and the water be replaced at least once a month. Clear records should be kept of the number of eyewash stations and their maintenance. Contact the CHO if inspection is out-of-date or for any questions.

Fire Alarm:

The fire alarm is activated by smoke sensor or manual activation stations. The system is monitored by Campus Control and serviced by Technical Services. The fire alarm has a distinctive sound consisting of a loud, constant siren. Contact the Technical Services if the fire alarm is suspected of not functioning properly.  Also see the University’s Emergency Evacuation Plan.

Facility Maintenance:

Facility problems in terms of electrical, plumbing, ventilation, air conditioning etc should be reported the LSO and or lecturer responsible. A request will then be forwarded to Technical Services. For emergency maintenance, the specific campus’ Technical Service and Campus Control should be contacted directly by the telephone numbers indicated in the Laboratory Safety Manual. f maintenance is required in the laboratory, it is critical that there be good communications between laboratory personnel and maintenance workers in order to prevent accidents or accidental exposures to chemicals.

# Part C

# Emergency Procedures

Fire

Medical Emergencies

Chemical Exposures

Emergency Information Posters

Reporting Accidents and Injuries

There are many types of emergencies that could occur in a laboratory, including fires, chemical spills, injuries, accidents, explosions, medical emergencies and others.

Each Department has written an individual emergency action plan and designated an emergency coordinator and a designated assembly point. The emergency coordinator is the first point of contact for questions about the emergency procedures and the emergency action plan. The designated assembly point is where building occupants should gather in the case of a building evacuation. Make sure you are accounted for before leaving the assembly point. Rescue personnel are required to enter a building and search for individuals who are thought to still be in the building. Be sure to familiarize yourself with the emergency action plan for your department.

## Fire

In the event of a fire, Campus Control should be notified immediately at the respective campus and the following actions are recommended:

The University policy states that individuals are not required to fight fires, but that those who choose to do so may fight small, incipient stage fires (no bigger than a wastepaper basket) as long as they have been trained in the proper use of fire extinguishers.

- If you have been trained in the use of a fire extinguisher, fight the fire from a position where you can escape, only if you are confident that you will be successful.

- A fire contained in a small vessel can usually be suffocated by covering the vessel with a lid of some sort.

- If your clothing catches fire, drop to the floor and roll to smother the fire. If a co-worker’s clothing catches fire, knock the person to the floor and roll him or her to smother the flames. In both cases, a fire blanket may be used to smother the fire provided that such a blanket is within immediate reach. In each case use a safety shower immediately thereafter.

- If the fire is large or spreading, activate the fire alarm to alert building occupants. If the fire alarm does not work, or if the building is not equipped with one, notify the building occupants verbally of the need to evacuate.

- If possible, shut down any equipment which may add fuel to the fire.

- Do not turn off any hoods in the immediate area, as they will tend to keep the area free from smoke and fumes.

- Close the door behind you to prevent the fire’s spread.

- Evacuate the building according to the Emergency Evacuation Plan and await the arrival of Campus Control.

- Be prepared to inform them of the exact location, details of the fire, and chemicals that are stored and used in the area.

- Do not re-enter the building until you are told to do so by Campus Control or the municipal fire official.

## Medical Emergencies

In the event of any injury or illness where assistance is needed, contact the Campus Control and Health Services at the telephone numbers indicated in the Laboratory Safety Manual. If an ambulance is needed, Campus Control will arrange for one. Campus Control staff can transport individuals with minor injuries to Health Services, surgery or hospital, as appropriate.

### First Aid Kits

According to the University Policy on First Aid, all first aid kits maintained by the various departments and offices must be kept in sanitary condition according to the OHS Act “General Safety Regulations”.  Information with regards to the minimum required content of the First Aid Kit can be obtained form the campus’ medical unit or CHO.

The physical location of the first aid kit should be prominently indicated and each laboratory manual must clearly refer to it.

### Chemical Exposures

The following procedures should be followed in the event of excessive chemical exposure. In all cases, the incident should be reported to your LSO or supervisor, regardless of severity. Consult the LSO to determine whether or not a Incident Report of Accidental Injury or should be completed (See Appendix A). Refer to the Laboratory Safety Manual for handling specific exposures unique to the laboratory.

A record of all students and personnel that are exposed to certain risk chemicals on a daily basis should be kept and updated on a monthly basis by the LSO responsible for the particular laboratory (See Appendix C). The monthly chemical exposure list must be submitted to the CHO for evaluation.

### Chemicals on Skin or Clothing

- Immediately flush with water for no less than 15 minutes (except for Hydrofluoric Acid: rinse with water for 5 minutes and apply calcium gluconate gel, then get immediate medical attention.  If no gel is available, rinse for 15 minutes and go immediately to Health Services or other Medical Center).

- For larger spills, the safety shower should be used.

- While rinsing, quickly remove all contaminated clothing or jewellery. Seconds count. Do not waste time because of modesty. Use caution when removing pullover shirts or sweaters to prevent contamination of the eyes.

- Check the Material Safety Data Sheet (MSDS) to determine if any delayed effects should be expected. Discard contaminated clothing or launder them separately from other clothing. Leather garments or accessories cannot be decontaminated and should be discarded.

- Do not use solvents to wash skin. They remove the natural protective oils from the skin and can cause irritation and inflammation. In some cases, washing with a solvent may facilitate absorption of a toxic chemical.

- For flammable solids on skin, first brush off as much of the solid as possible, then proceed as described above.

### Chemicals in Eyes

- Immediately flush eye(s) with water for at least fifteen minutes. The eyes must be forcibly held open to wash, and the eyeballs must be rotated so all surface area is rinsed. The use of an eye wash fountain is desirable so hands are free to hold the eyes open. If an eyewash is not available, pour water on the eye, rinsing from the nose outward to avoid contamination of the unaffected eye.

- Remove contact lenses while rinsing. Do not lose time removing contact lenses before rinsing. Do not attempt to rinse and reinsert contact lenses.

- Seek medical attention regardless of the severity or apparent lack of severity. If an ambulance or transportation to a medical center is needed, contact Campus Control.

- Explain carefully what chemicals were involved.

### Chemical Inhalation

- Close containers, open windows or otherwise increase ventilation, and move to fresh air.

- If symptoms, such as headaches, nose or throat irritation, dizziness, or drowsiness persist, seek medical attention by calling Campus Control and Health Services, or by going to Health Services.

- Explain carefully what chemicals were involved.

- Review the MSDS to determine what health effects are expected, including delayed effects.

### Accidental Ingestion of Chemicals

- Immediately go to Health Services or other medical unit.

- Do not induce vomiting unless directed to do so by a health care provider.

### Accidental Injection of Chemicals

- Wash the area with soap and water and seek medical attention.

## Emergency Information Posters

All laboratories and chemical storage areas must have a complete Emergency Information Poster affixed on or near each entrance to the room. A copy of the completed form must be sent to Campus Control. Lab Safety Officer must review the poster for accuracy twice a year and replace it as necessary. The date of the updated inspection and person responsible must be clearly indicated on the poster.

The following information should be supplied on every poster (see figure 1 for an example):

Responsible individuals 		- List those who are most familiar with the activities in the room.

Room diagram 		- A drawing of the room, showing important items such as fume hoods, storage cabinets, lab benches, etc.

Hazard class 		- Hazardous materials found in the room should be identified and listed on the poster when quantities exceed the threshold levels.

Posting/Review Dates 		- Posters should be reviewed to insure all information is current and initialled after the inspection intervals.

Additional information 		- This allows narrative comments by the user on material, storage conditions, unusual hazards, etc.

The purpose of the Emergency Information Poster is to provide an easily recognizable and consistent means of displaying essential information about the status and contents of laboratories and facilities, primarily for the benefit of persons attempting to cope with an explosion, fire, natural disaster, or other emergency. Such information is important for the safety of emergency personnel and is often of considerable value in evaluating and dealing with the emergency.

Figure 1	Example of an Emergency Poster

In the absence of current and accurate information, responders may take an extremely conservative approach to handling the emergency and the response may become disproportionate to the actual hazard. This may lead to a delayed response that could result in an emergency of greater magnitude or, at the very least, lengthen the disruption of normal activities.

During an emergency, the poster may be used as the primary source of information about a room or space. Therefore, the information on the poster should be complete and accurate.

For the purposes of the Emergency Information Poster, the Hazardous Material Classifications may be found on shipping labels, some material safety data sheets (MSDS), and container labels. If the actual class is not listed, descriptive words may be found on container labels or in the material’s MSDS to assist in determining the hazard class.

## Reporting Accidents and Injuries

All accidents, injuries, or near-misses should be reported to your supervisor or lecturer. Supervisors are required to complete the Incident Report of an accident or injury (Appendix A). This must be handed to the LSO or CHO within 3 working days after the incident. If the incident requires the intervention from the health unit, the necessary documentations will be completed by the nurse on duty for submission to EHS and Workman’s Compensation at the Department of Labor.

If a laboratory worker believes that he or she has been over-exposed to a chemical, the worker or supervisor should complete a Report of Possible Chemical Overexposure form, regardless of whether or not signs or symptoms are noted. Copies of the form must be forwarded to the Chemical Hygiene Officer, EHS and Health Unit.

# Part D

# Health Hazards of Chemicals

Introduction

Basic Toxicology

Routes of Entry

Toxic Effects of Chemical Exposure

Chemical Exposure Determination

## Introduction

The decisions you make concerning the use of chemicals in the laboratory should be based on an objective analysis of the hazards, rather than merely the perception of the risks involved. Once this has been accomplished, a reasonable means of controlling the hazards through experimental protocol, work practices, ventilation, use of protective clothing, etc., can be determined. In order to assess the hazards of a particular chemical, both the physical and health hazards of the chemical must be considered.

Before using any chemical, the material safety data sheet (MSDS) or other appropriate resource should be reviewed to determine what conditions of use might pose a hazard. Accidents with hazardous chemicals can happen quickly and may be quite severe. The key to prevention of these accidents is awareness. Once the hazards are known, the risk of an accident may be reduced significantly by using safe work practices.

## Basic Toxicology

The health effects of hazardous chemicals are often less clear than the physical hazards. Data on the health effects of chemical exposure, especially from chronic exposure, are often incomplete. When discussing the health effects of chemicals, two terms are often used interchangeably - toxicity and hazard. However, the actual meanings of these words are quite different. Toxicity is an inherent property of a material, similar to its physical constants. It is the ability of a chemical substance to cause an undesirable effect in a biological system. Hazard is the likelihood that a material will exert its toxic effects under the conditions of use. Thus, with proper handling, highly toxic chemicals can be used safely. Conversely, less toxic chemicals can be extremely hazardous if handled improperly.

RISK = TOXICITY X EXPOSURE

The actual health risk of a chemical is a function of the toxicity and the actual exposure. No matter how toxic the material may be, there is little risk involved unless it enters the body. An assessment of the toxicity of the chemicals and the possible routes of entry will help determine what protective measures should be taken.

## Routes of Entry

### Skin and Eye Contact

The simplest way for chemicals to enter the body is through direct contact with the skin or eyes. Skin contact with a chemical may result in a local reaction, such as a burn or rash, or absorption into the bloodstream. Absorption into the bloodstream may then allow the chemical to cause toxic effects on other parts of the body. The MSDS usually includes information regarding whether or not skin absorption is a significant route of exposure.

The absorption of a chemical through intact skin is influenced by the health of the skin and the properties of the chemical. Skin that is dry or cracked or has lacerations offers less resistance. Fat-soluble substances, such as many organic solvents, can easily penetrate skin and, in some instances, can alter the skin’s ability to resist absorption of other substances.

Wear gloves and other protective clothing to minimize skin exposure. See Personal Protective Equipment for more information. Symptoms of skin exposure include dry, whitened skin, redness and swelling, rashes or blisters, and itching. In the event of chemical contact on skin, rinse the affected area with water for at least 15 minutes, removing clothing while rinsing, if necessary. Seek medical attention if symptoms persist.

Avoid use of solvents for washing skin. They remove the natural protective oils from the skin and can cause irritation and inflammation. In some cases, washing with a solvent may facilitate absorption of a toxic chemical.

Chemical contact with eyes can be particularly dangerous, resulting in painful injury or loss of sight. Wearing safety goggles or a face shield can reduce the risk of eye contact. Eyes that have been in contact with chemicals should be rinsed immediately with water continuously for at least 15 minutes. Contact lenses should be removed while rinsing - do not delay rinsing to remove the lenses. Medical attention is necessary if symptoms persist.

## Inhalation

The respiratory tract is the most common route of entry for gases, vapors and particles. These materials may be transported into the lungs and exert localized effects, or be absorbed into the bloodstream. Factors that influence the absorption of these materials may include the vapor pressure of the material, solubility, particle size, its concentration in the inhaled air, and the chemical properties of the material. The vapor pressure is an indicator of how quickly a substance evaporates into the air and how high the concentration in air can become - higher concentrations in air cause greater exposure in the lungs and greater absorption in the bloodstream.

Most chemicals have an odour that is perceptible at a certain concentration, referred to as the odour threshold; however, there is no relationship between odour and toxicity. There is considerable individual variability in the perception of odour. Olfactory fatigue may occur when exposed to high concentrations or after prolonged exposure to some substances. This may cause the odour to seem to diminish or disappear, while the danger of overexposure remains.

Symptoms of over-exposure may include headaches, increased mucus production, and eye, nose and throat irritation. Narcotic effects, including confusion, dizziness, drowsiness, or collapse, may result from exposure to some substances, particularly many solvents. In the event of exposure, close containers or otherwise increase ventilation, and move to fresh air. If symptoms persist, seek medical attention.

Volatile hazardous materials should be used in a well-ventilated area, preferably a fume hood, to reduce the potential of exposure. Occasionally, ventilation may not be adequate and a fume hood may not be practical, necessitating the use of a respirator. Contact the LSO for more information on using personal protective equipment.

### Ingestion

The gastrointestinal tract is another possible route of entry for toxic substances. Although direct ingestion of a laboratory chemical is unlikely, exposure may occur as a result of ingesting contaminated food or beverages, touching the mouth with contaminated fingers, or swallowing inhaled particles, which have been cleared from the respiratory system. The possibility of exposure by this route may be reduced by not eating, drinking, smoking, or storing food in the laboratory, and by washing hands thoroughly after working with chemicals, even when gloves were worn.

Direct ingestion may occur as a result of the outdated and dangerous practice of mouth pipetting. In the event of accidental ingestion, immediately go to Health Services. Do not induce vomiting unless directed to do so by a health care provider.

### Injection

The final possible route of exposure to chemicals is by accidental injection. Injection effectively bypasses the protection provided by intact skin and provides direct access to the bloodstream, thus, to internal organ systems. Injection may occur through mishaps with syringe needles, when handling animals, or through accidents with pipettes, broken glassware or other sharp objects that have been contaminated with toxic substances.

If accidental injection has occurred, wash the area with soap and water and seek medical attention. Cautious use of any sharp object is always important. Substituting cannulas for syringes and wearing gloves may also reduce the possibility of injection.

## Toxic Effects of Chemical Exposure

How a chemical exposure affects a person depends on many factors. The dose is the amount of a chemical that actually enters the body. The actual dose that a person receives depends on the concentration of the chemical and the frequency and duration of the exposure. The sum of all routes of exposure must be considered when determining the dose.

In addition to the dose, the outcome of exposure is determined by (1) the way the chemical enters the body, (2) the physical properties of the chemical, and (3) the susceptibility of the individual receiving the dose.

## Toxic Effects of Chemicals

The toxic effects of a chemical may be local or systemic. Local injuries involve the area of the body in contact with the chemical and are typically caused by reactive or corrosive chemicals, such as strong acids, alkalis or oxidizing agents. Systemic injuries involve tissues or organs unrelated to or removed from the contact site when toxins have been transported through the bloodstream. For example, methanol that has been ingested may cause blindness, while a significant skin exposure to nitrobenzene may affect the central nervous system.

Certain chemicals may affect a target organ. For example, lead primarily affects the central nervous system, kidney and red blood cells; isocyanates may induce an allergic reaction (immune system); and chloroform may cause tumors in the liver and kidneys.

It is important to distinguish between acute and chronic exposure and toxicity. Acute toxicity results from a single, short exposure. Effects usually appear quickly and are often reversible. Chronic toxicity results from repeated exposure over a long period of time. Effects are usually delayed and gradual, and may be irreversible. For example, the acute effect of alcohol exposure (ingestion) is intoxication, while the chronic effect is cirrhosis of the liver. Acute and chronic effects are distinguished in the MSDS, usually with more information about acute exposures than chronic.

Relatively few chemicals have been evaluated for chronic effects, given the complexity of that type of study. Chronic exposure may have very different effects than acute exposure. Usually, studies of chronic exposure evaluate its cancer causing potential or other long-term health problems.

### Evaluating Toxicity Data

Most estimates of human toxicity are based on animal studies, which may or may not relate to human toxicity. In most animal studies, the effect measured is usually death. This measure of toxicity is often expressed as an LD50 (lethal dose 50) - the dose required to kill 50% of the test population. The LD50 is usually measured in milligrams of the material per kilogram of body weight of the test animal. The concentration in air that kills half of the population is the LC50.

To estimate a lethal dose for a human based on animal tests, the LD50 must be multiplied by the weight of an average person. Using this method, it is evident that just a few drops of a highly toxic substance, such as dioxin, may be lethal, while much larger quantities of a slightly toxic substance, such as acetone, would be necessary for the same effect.

### Susceptibility of Individuals

Factors that influence the susceptibility of an individual to the effects of toxic substances include nutritional habits, physical condition, obesity, medical conditions, drinking and smoking, and pregnancy. Due to individual variation and uncertainties in estimating human health hazards, it is difficult to determine a dose of a chemical that is totally risk-free.

Regular exposure to some substances can lead to the development of an allergic rash, breathing difficulty, or other reactions. This phenomenon is referred to as sensitization. Over time, these effects may occur with exposure to smaller and smaller amounts of the chemical, but will disappear soon after the exposure stops. For reasons not fully understood, not everyone exposed to a sensitizer will experience this reaction. Examples of sensitizers include epoxy resins, nickel salts, isocyanates and formaldehyde.

### Particularly Hazardous Substances

The OHS Act defines a particularly hazardous substance as

any toxic, harmful, corrosive, irritant or asphyxiant substance, or a mixture of such substances, for which: a) an occupational exposure limit is prescribed; b) an occupational exposure limit is not prescribed, but which creates a hazard to health.

### Where To Find Toxicity Information

Toxicity information may be found in Material Safety Data Sheets, under the "Health Hazard Data" section, on product labels, in the Registry of Toxic Effects of Chemical Substances (RTECS), or in many other sources listed in the MSDS page.

## Chemical Exposure Determination

OHS Act gives ceiling and recommended exposure limits for some substances. Laboratory workers must not be exposed to substances in excess of the permissible exposure limits (PEL) specified in the OHS Act: “Regulations for hazardous chemical substances”. PELs refer to airborne concentrations of substances averaged over an eight-hour day. Some substances also have "action levels" below the PEL requiring certain actions such as medical surveillance or routine air sampling.

### Exposure Monitoring

Exposure monitoring must be conducted if there is reason to believe that exposure levels for a particular substance may routinely exceed either the action level or the PEL. EHS and the lecturer or supervisor may use professional judgement, based on the information available about the hazards of the substance and the available control measures, to determine whether exposure monitoring must be conducted.

When necessary, exposure monitoring is arranged by CHO according to established industrial hygiene practices. Results of the monitoring are made available to the individual monitored, his or her supervisor, and the departmental CHO within 15 working days of the receipt of analytical results.

Based on the monitoring results, periodic air sampling may be scheduled at the discretion of CHO, in accordance with applicable regulations.

CHO maintains records of all exposure monitoring results. Departmental Chemical Hygiene Officers should keep records of monitoring conducted for their department operations.

# Part E

# Chemical and Hazard Identification

Chemical and Hazard Identification and Information

Standard Operating Procedures

Controlling Chemical Exposure

Prior Approval for Laboratory Procedures

Particularly Hazardous Substances

## Chemical and Hazard Identification and Information

Chemical manufacturers or distributors perform an assessment of the physical and health hazards of each chemical they produce. This information is available from a variety of sources at the university, including:

- Container Labels from suppliers.

- Master file of Material Safety Data Sheets.

- Reference materials in the Main Library.

### Container Labels

All containers must be labelled especially those which could present a physical or health hazard. The label must be legible and durable.

Chemical names should be used, rather than formulas or code names, e.g. "Acetone", not CH3COCH3.

The labels on purchased chemicals should include:

- The common name of the chemical;

- The name, address and emergency telephone number of the company responsible for the product;

- Appropriate hazard warning:

| Danger | Caution | Warning | Reactive | Flammable |
| --- | --- | --- | --- | --- |
| Explosive | Corrosive | Irritant | Carcinogen |  |

Labels may not be removed from the container. When a chemical is transferred to another container for storage, the new containers should be labelled with the name of the product, the chemical constituents and hazard warnings.

Labels from reliable suppliers will provide additional information such as protective clothing required, first aid information, storage recommendations, emergency procedures, target organs for health effects and other safety information.

Read the label on each new shipment of chemicals. Formulations may change or new information may be available on physical or health hazards.

The CHO should be notified when suppliers are not providing adequate information on the labels.

Containers of chemicals that are to be disposed of as waste or surplus, unless they are in their original container with no contaminants added, must be tagged with special tags available from the CHO. Mixtures must include amount and percent solution of each substance in the containers. Licensed disposal contractors will not accept unknowns or unlabeled containers.

### MATERIAL SAFETY DATA SHEETS (MSDS)

MSDS are detailed fact sheets about chemical substances that may be a primary source of information. See Appendix D for an example of a 16 point layout that the MSDS of a particular chemical should have.

### Hazard Identification

Some laboratories may synthesize or develop new chemical compounds in the course of their research. If the composition of the substance is known, and will be used exclusively in the laboratory, it must be labelled, and to the best of the researcher's ability, the hazardous properties (corrosive, flammable, toxic, reactive, etc.) must be determined. This can often be done by comparing the structure of the new substance with the structure of similar materials with known hazardous properties. If the chemical produced is of unknown properties, it must be assumed to be hazardous, and appropriate precautions should be taken.

If a chemical substance is produced for another user outside of the Institution, an adequate Material Safety Data Sheet must be created to accompany the substance.

### Standard Operating Procedures

The Laboratory Safety Manual provides general principles for working safely with hazardous chemicals. Principal investigators, laboratory managers and laboratory workers are encouraged to develop and implement more detailed guidelines for specific operations and chemicals in their laboratories.

## Controlling Chemical Exposure

The following criteria are used to determine and implement control measures to reduce exposures to hazardous chemical substances (HCS). Hazardous chemical substances are referred to those that have a level of toxicity that classifies them as Group I and II under the Hazardous Substance Act

### Control Measures

Engineering controls are the primary means of control for exposure to hazardous chemicals. Local ventilation, including fume hoods, ducted bio-safety cabinets, glove boxes, vented storage cabinets, and vented canopies are the most common types of engineering controls. Upon request, LSO provides assistance in determining the appropriate type of engineering controls for specific operations.

Protective equipment, including gloves, face shields, safety glasses, safety goggles, lab coats and aprons, are used when engineering controls are not sufficient to adequately control exposure. Specifically, this equipment is used to prevent exposure to the skin or eyes. Personal protective equipment is carefully selected to ensure that it is compatible with the chemicals used. Information about selection of appropriate protective equipment is available in the Laboratory Safety Manual.

When feasible engineering controls are not adequate to reduce inhalation exposure to acceptable levels, a respirator may be used to minimize exposure to airborne contaminants.

### Administrative Controls

It may be necessary to supplement engineering controls and protective equipment with administrative controls, such as restricting access to an area, restricting use of particular chemicals to a limited group of people, or limiting the length of exposure.

Proper daily records should be kept and the chemical exposure data sheet should be completed by all researchers, senior students and laboratory staff that are exposed to particular hazardous chemical substance (HCS) on a regular basis. The data sheets should be collected by the LSO on a weekly basis and any irregularities or concerns be reported to the CHO. Data sheets should be kept by the LSO for at least a year for any possible future queries. An example of a Chemical Exposure data sheet is shown in Appendix F.

The following should be taken into account when completing the data sheets:

- the HCS to which an employee may be exposed

- where the HCS may be present and in  which physical form it is likely to be

- the nature of the work, process and any reasonable deterioration in, or failure of, any control measures

### Prior Approval for Laboratory Procedures

Individuals planning to use Particularly Hazardous Substances, as described later in this document, must complete a Particularly Hazardous Substance Use Approval Form and have it approved by the departmental Chemical Hygiene Officer prior to their initial use of the substance. Forms are available from the laboratory safety officer, or can be downloaded from the intranet.

Responsibility for determining whether a chemical is a Particularly Hazardous Substance rests jointly with the supervisor and the individual planning to use the substance.

### Particularly Hazardous Substances

Particularly hazardous substances are defined to include select carcinogens, reproductive toxins and substances that have a high degree of acute toxicity (such as cyanides and dimethyl mercury).

Select carcinogens include any substance that is included on any of the following lists of carcinogens:

- OHS Act Hazardous Chemical Substances Regulations Annexure 1 “Carcinogenic compounds”.

- Annual Report on Carcinogens published by the National Toxicology Program (NTP), including all of the substances listed as "known to be carcinogens" and some substances listed as "reasonably anticipated to be carcinogens"

- International Agency for Research on Cancer (IARC), including all of Group 1 "carcinogen to humans" and some in Group 2A or 2B, "reasonably anticipated to be carcinogens"

- Reproductive toxin includes any chemical that may affect the reproductive capabilities including chromosomal damage (mutations) and effects on fetuses (teratogenesis).

High acute toxicity includes any chemical that falls within any of the following categories:

- A chemical with a median lethal dose (LD50) of 50 mg or less per kg of body weight when administered orally to certain test populations.

- A chemical with an LD50 of 200 mg or less per kg of body weight when administered by continuous contact for 24 hours (or less if death occurs within 24 hours) to certain test populations

- A chemical with a median lethal concentration (LC50) in air of 200 parts per million (ppm) by volume or less of gas or vapor, or 2 mg per liter or less of mist, fume, or dust, when administered to certain test populations by continuous inhalation for one hour, provided such concentration and/or condition are likely to be encountered by humans when the chemical is used in any reasonably foreseeable manner.

A list of the more commonly used particularly hazardous substances is available in the Laboratory Safety Manual, however, this list is not exhaustive. Consult the product MSDS or contact LSO for assistance in determining whether a substance is classified as particularly hazardous.

# Part F

# Controlling Chemical Exposures

Fume Hoods and Laboratory Ventilation

How a Fume Hood Works

Using Chemical Fume Hoods

Good Work Practices

Common Misuses and Limitations

Hood Performance

Personal Protective Equipment

Eye Protection

Protective Clothing, Footwear & Gloves

Hearing Protection

Respiratory Protection

## Fume Hoods and Laboratory Ventilation

One of the primary safety devices in a laboratory is a chemical fume hood. A well-designed hood, when properly installed and maintained, can offer a substantial degree of protection to the user, provided that it is used appropriately and its limitations are understood. This section covers a number of topics aimed at helping laboratory workers understand the limitations and proper work practices for using fume hoods and other local ventilation devices safely.

### Hood Face Velocity

Based on a number of studies and the recommendations of several laboratory safety guidance documents, the following face velocity criteria are recommended:

Above 45 meter per minute (mpm): Unacceptable for laboratory use.

30-40 mpm: Provides adequate control of inhalation exposure to most hazardous substances, including radioactive materials and particularly hazardous substances.

25-30 and 40-45 mpm: Adequate for manipulation of laboratory quantities of hazardous materials except radioactive materials and particularly hazardous substances.

Below 25 mpm: Use approved by CHO on case by case basis, based on activities, placement of hood, smoke tests, etc.

20-25 mpm: Acceptable for chemical storage.

### How a fume hood works

A fume hood is a ventilated enclosure in which gases, vapors and fumes are contained. An exhaust fan situated on the top of the laboratory building pulls air and airborne contaminants in the hood through ductwork connected to the hood and exhausts them to the atmosphere.

The typical fume hood found in the Department of Chemistry laboratories is equipped with a movable front sash and an interior baffle. Depending on its design, the sash may move vertically, horizontally or a combination of the two and provides some protection to the hood user by acting as a barrier between the worker and the experiment.

The slots and baffles direct the air being exhausted. In many hoods, they may be adjusted to allow the most even flow. It is important that the baffles are not closed or blocked since this blocks the exhaust path.

The airfoil or bevelled frame around the hood face allows more even airflow into the hood by avoiding sharp curves that can create turbulence.

In most hood installations, the exhaust flow rate or quantity of air pulled through the hood is constant. Therefore, when the sash is lowered and the cross-sectional area of the hood opening decreases, the velocity of airflow (face velocity) through the hood increases proportionally. Thus, higher face velocities can be obtained by lowering the sash.

## Using Chemical Fume Hoods

A fume hood is used to control exposure of the hood user and lab occupants to hazardous or odorous chemicals and prevent their release into the laboratory. A secondary purpose is to limit the effects of a spill by partially enclosing the work area and drawing air into the enclosure by means of an exhaust fan. This inward flow of air creates a dynamic barrier that minimizes the movement of material out of the hood and into the lab.

In a well-designed, properly functioning fume hood, only about 0.0001% to 0.001% of the material released into the air within the hood actually escapes from the hood and enters the laboratory.

### When is a fume hood necessary?

The determination that a fume hood is necessary for a particular experiment should be based on a hazard analysis of the planned work. Such an analysis should include:

- A review of the physical characteristics, quantity and toxicity of the materials to be used;

- The experimental procedure;

- The volatility of the materials present during the experiment;

- The probability of their release;

- The number and sophistication of manipulations; and

- The skill and expertise of the individual performing the work.

### Good Work Practices

The level of protection provided by a fume hood is affected by the manner in which the fume hood is used. No fume hood, however well designed, can provide adequate containment unless good laboratory practices are used. Adequate planning and preparation are key. The hood user should know the Standard Operating Configuration (SOC) of the hood and should design experiments so that the SOC can be maintained whenever hazardous materials might be released. The SOC refers to the position of the sash. A schematic drawing of the SOC is displayed on the front of each chemical fume hood.

Before using the hood, the hood user should check the hood survey sticker to determine if the face velocity is adequate for the particular use of a hood.

For work with hazardous materials, the fume hood should have a face velocity of 95 - 125 feet per minute at a sash height that is adequate for the procedure.

The hood user should also check the magnehelic gauge or other hood performance indicator and compare its reading to the reading indicated on the hood survey sticker. If the reading differs significantly (15% or more for a magnehelic gauge) from that on the sticker, the hood may not be operating properly.

Items contaminated with odorous or hazardous materials should be removed from the hood only after decontamination or if placed in a closed outer container to avoid releasing contaminants into the laboratory air.

When using cylinders containing highly toxic or extremely odorous gases, obtain only the minimal practical quantity. Consider using a flow-restricting orifice to limit the rate of release in the event of equipment failure. In some circumstances, exhaust system control devices or emission monitoring in the exhaust stack may be appropriate.

To optimize the performance of the fume hood, follow the practices listed below:

- Mark a line with tape 15 cm behind the sash and keep all chemicals and equipment behind that line during experiments. This will help to keep materials from escaping the hood when disturbances like air currents from people walking past the hood, etc., interfere with airflow at the face of the hood.

- Provide catch basins for containers that could break or spill, to minimize the spread of spilled liquids.

- Keep the sash completely lowered any time an experiment is in progress and the hood is unattended.

- Never use a hood to control exposure to hazardous substances without first verifying that it is operating properly.

- Visually inspect the baffles (openings at the top and rear of the hood) to be sure that the slots are open and unobstructed.  For optimum performance, adjust the baffles when working with high temperature equipment and/or heavy gases or vapors.  See figure below for suggested baffle positions.

- Do not block slots. If large equipment must be placed in the hood, put it on blocks to raise it approximately 6 cm above the surface so that air may pass beneath it.  See figure below.

- Place large or bulky equipment near the rear of the fume hood. Large items near the face of the hood may cause excessive air turbulence and variations in face velocity.

- Do not use the hood as a storage device. Keep only the materials necessary for the experiment inside of the hood. If chemicals must be stored in the hood for a period of time, install shelves on the sides of the hood, away from the baffles.

- Keep the hood sash clean and clear.

- Check area around the hood for sources of cross drafts, such as open windows, supply air grilles, fans and doors. Cross drafts may cause turbulence that can allow leaks from the hood into the lab.

- Extend only hands and arms into the hood and avoid leaning against it. If the hood user stands up against the face of the hood, air currents produced by turbulent airflow may transport contaminants into the experimenter's breathing zone.

- Clean all chemical residues from the hood chamber after each use.

- All electrical devices should be connected outside the hood to avoid electrical arcing that can ignite a flammable or reactive chemical.

DO NOT USE A HOOD FOR ANY FUNCTION FOR WHICH IT WAS NOT INTENDED

Certain chemicals or reactions require specially constructed hoods. Examples are perchloric acid or high pressure reactions. Most special use hoods are labelled with the uses for which they are designed.

### Common Misuses and Limitations

Used appropriately, a fume hood can be a very effective device for containing hazardous materials, as well as providing some protection from splashes and minor explosions. Even so, the average fume hood does have several limitations.

Particulates

A fume hood is not designed to contain high velocity releases of particulate contaminants unless the sash is fully closed.

Pressurized systems

Gases or vapours escaping from pressurized systems may move at sufficient velocity to escape from the fume hood.

Explosions

The hood is not capable of containing explosions, even when the sash is fully closed. If an explosion hazard exists, the user should provide anchored barriers, shields or enclosures of sufficient strength to deflect or contain it. Such barriers can significantly affect the airflow in the hood.

Perchloric Acid

A conventional fume hood must not be used for perchloric acid. Perchloric acid vapors can settle on ductwork, resulting in the deposition of perchlorate crystals. Perchlorates can accumulate on surfaces and have been known to detonate on contact, causing serious injury to researchers and maintenance personnel. Specialized perchloric acid hoods, made of stainless steel and equipped with a washdown system must be used for such work.

Air Foil Sills

Many fume hoods are equipped with flat or rounded sills or air foils which direct the flow of air smoothly across the work surface. Sills should not be removed or modified by the hood user. Objects should never be placed on these sills. Materials released from containers placed on the sills may not be adequately captured. In addition, an object on the sill may prevent the quick and complete closure of the sash in an emergency.

Spill Containment Lips

Most modern fume hoods have recessed work surfaces or spill containment lips to help contain minor liquid spills. In many cases, these lips are several inches wide. Containers of liquids should not be placed on the hood lip.

Horizontal Sliding Sashes

The hood user should never remove sliding sashes. Horizontal sash hoods are designed and balanced with no more than half the face open at any time. Removal of sashes may reduce the face velocity below acceptable levels.

Tubing for Exhaust

Tubing is frequently used to channel exhaust to the hood from equipment located some distance away. This is not an effective control method.

Connections to the Exhaust System

Occasionally, a researcher may need local exhaust ventilation other than that provided by an existing fume hood. A new device may not be connected to an existing fume hood without the explicit approval of EHS. Adding devices to even the simplest exhaust system without adequate evaluation and adjustment will usually result in decreased performance of the existing hood and/or inadequate performance of the additional device.

Microorganisms

Work involving harmful microorganisms should be done in a biosafety cabinet, rather than a chemical fume hood. See the Biosafety Manual for more information.

Highly Hazardous Substances

A well designed fume hood will contain 99.9 - 99.99% of the contaminants released within it when used properly. When working with highly dangerous substances needing more containment than a fume hood offers, consider using a glove box.

Pollution Control

An unfiltered fume hood is not a pollution control device. All contaminants that are removed by the ventilating system are released directly into the atmosphere. Apparatus used in hoods should be fitted with condensers, traps or scrubbers to contain and collect waste solvents or toxic vapors or dusts.

Waste Disposal

A fume hood should not be used for waste disposal. It is a violation of environmental regulations to intentionally send waste up the hood stack. As described above, the hood is not a pollution control device.

The Fume Hood as a Storage Device

Fume hoods are designed specifically to provide ventilation for the protection of lab occupants during chemical manipulations. The airflow they provide is greatly in excess of that needed for storage of closed containers of even the most toxic of volatile materials. Storing materials in this way is, therefore, a misuse of an expensive piece of equipment.

In general, the storage of chemicals in fume hoods is strongly discouraged. See Flammable Materials for more information about proper storage of flammable, toxic, or odorous chemicals.

The realities of available space and equipment in some laboratories may make it difficult or impossible to completely prohibit the use of hood workspaces for storage. In such a case, the following general policy is recommended:

Hoods Actively in Use for Experimentation

Storage of materials should be minimized or eliminated altogether. Materials stored in the hood can adversely affect the containment provided. In addition, the hood is frequently the focus of the most hazardous activities conducted in the laboratory. The presence of stored flammable or volatile, highly toxic materials can only exacerbate the problems resulting from an explosion or fire in the hood. Even if they are not directly involved in such an event, attempts to control or extinguish a fire may result in the spilling of stored materials.

Hoods Not in Active Use

Materials requiring ventilated storage (e.g., volatile and highly toxic, or odorous substances) may be stored in a hood if they are properly segregated and the hood is posted to prohibit its use for experimental work.

### Hood Performance

All fume hoods should be monitored on a regular basis to check performance, particularly hood face velocity. This is a function of EHS.  Each hood should also have a survey sticker with important information to help determine whether the particular hood is functioning properly and is appropriate for the work to be performed.

### Hood Survey Sticker

Every chemical fume hood on campus should have a survey sticker affixed to the front of the hood in a conspicuous location. The sticker contains basic information about hood performance as of the most recent survey and should be consulted each time the hood is used.

The EHS Hood Number is a unique identifier for the particular hood. Refer to this number when discussing problems with a particular hood.

The Average Face Velocity is the average velocity with the hood sash in the Standard Operating Configuration (SOC).

The Opening for 30 mpm face velocity is the sash height, in inches, to which the sash must be lowered in order for the hood to achieve 100 fpm face velocity.

The Flow Monitor Reading is the reading of the magnehelic gauge or other continuous monitoring device at the time of the survey. Where the hood has two possible exhaust rates, the reading corresponding to each rate may be indicated as, for example, 0.31/0.42. The Inspected on date is the date of the last hood survey. Hoods that have not been surveyed within the past year should not be used until tested by qualified technician by the CHO .

If hood performance is judged to be unsuitable for use with hazardous chemicals, a sticker with this information is placed on the hood instead of the survey sticker.

Do not use a hood that has no survey sticker. If a survey of a hood is needed, the EHS needs to be contacted.

### Evaluation and Maintenance Program

Hood Surveys

Fume hoods should be evaluated on an annual basis. The face velocity of the fume hood is measured with the sash in the Standard Operating Configuration (SOC) and this measurement, as well as the reading of the continuous monitoring device, is recorded on the hood sticker. A smoke test is done to further evaluate the containment of the hood.

After each performance survey, a written report of the results is furnished to the individual responsible for the hood (e.g., the lecturer or laboratory supervisor), the Chemical Hygiene Officer for the department, and the Technical Facilities staff for the laboratory building.

When Problems are noted

There are several factors that can affect the performance of the hood, resulting in low face velocity or turbulent airflow. These include mechanical problems or exhaust slots blocked by large objects or excessive storage. If a problem is found during the hood survey, a written notice will be provided on-site to the laboratory or taped to the sash of the fume hood. If the problem requires the need for work practice changes (e.g., blocked exhaust slots or excessive storage), the laboratory worker should make the recommended changes and call the CHO to have the hood resurveyed.

If maintenance is necessary, the laboratory worker may request maintenance through filling in the maintenance request book provided in the laboratory.

## Personal Protective Equipment

Personal protective equipment (PPE) is special gear used to protect the wearer from specific hazards of a hazardous substance. It is a last resort protection system, to be used when substitution or engineering controls are not feasible. PPE does not reduce or eliminate the hazard, protects only the wearer, and does not protect anyone else.

PPE includes gloves, respiratory protection, eye protection, and protective clothing. The need for PPE is dependent upon the type of operations and the nature and quantity of the materials in use, and must be assessed on a case by case basis. Workers who rely on PPE must understand the functioning, proper use, and limitations of the PPE used.

### Eye Protection

Safety Glasses

Safety glasses look very much like normal glasses, but have lenses that are impact resistant and frames that are far stronger than standard streetwear glasses. Safety glasses must have side shields and should be worn whenever there is the possibility of objects striking the eye, such as particles, glass, or metal shards. Many potential eye injuries have been avoided by wearing safety glasses. Standard streetwear eyeglasses fitted with side shields are not sufficient.

Safety glasses do not provide adequate protection from significant chemical splashes. They do not seal to the face, resulting in gaps at the top, bottom and sides, where chemicals may seep through Safety glasses may be adequate when the potential splash is minimal, such as when opening eppendorf tubes.

Safety glasses are also not appropriate for dusts and powders, which can get by the glasses in ways similar to those described above. Safety goggles are best used for this type of potential exposure.

Chemical Splash Goggles

Chemical Splash Goggles should be worn when there is potential for splash from a hazardous material. Like safety glasses, splash goggles are impact resistant. Chemical splash goggles should have indirect ventilation so hazardous substances cannot drain into the eye area. Some may be worn over prescription glasses.

Goggles come in a variety of styles for maximum comfort and splash protection. Visorgogs are a hybrid of a goggle and safety glasses. They offer more splash protection than safety glasses, but not as much as goggles. They fit close to the face, but do not seal at the bottom as goggles do.

Face Shields

Face shields are in order when working with large volumes of hazardous materials, either for protection from splash to the face or flying particles. Face shields must be used in conjunction with safety glasses or goggles.

Contact Lenses

Contact lenses may be worn in the laboratory, but do not offer any protection from chemical contact. If a contact lens becomes contaminated with a hazardous chemical, rinse the eye(s) using an eyewash and remove the lens immediately. Contact lenses that have been contaminated with a chemical must be discarded. This particularly recommendation runs counter to what most of us were taught previously.  However, studies have shown that contact lenses are safe to wear in the laboratory environment.

### Protective Clothing, Footwear & Gloves

Protective Clothing

When the possibility of chemical contamination exists, protective clothing that resists physical and chemical hazards should be worn over street clothes. Lab coats are appropriate for minor chemical splashes and spills, while plastic or rubber aprons are best for protection from corrosive or irritating liquids.

Disposable outer garments (i.e., Tyvek suits) may be useful when cleaning and decontamination of reusable clothing is difficult.

Loose clothing (such as overlarge lab coats or ties), skimpy clothing (such as shorts), torn clothing and unrestrained hair may pose a hazard in the laboratory.

Also see the NIOSH Recommendations for Personal Protective Clothing.

Footwear

Shoes should be worn at all times in buildings where chemicals are stored or used. Perforated shoes, sandals or cloth sneakers should not be worn in laboratories or where mechanical work is conducted. Such shoes offer no barrier between the laboratory worker and chemicals or broken glass.

Chemical resistant overshoes or boots may be used to avoid possible exposure to corrosive chemical or large quantities of solvents or water that might penetrate normal footwear (e.g., during spill cleanup). Leather shoes tend to absorb chemicals and may have to be discarded if contaminated with a hazardous material.

Although generally not required in most laboratories, steel-toed safety shoes may be necessary when there is a risk of heavy objects falling or rolling onto the feet, such as in bottle-washing operations or animal care facilities.

Gloves

Choosing the appropriate hand protection can be a challenge in a laboratory setting. Considering the fact that dermatitis or inflammation of the skin accounts for 40-45% of all work-related diseases, selecting the right glove for the job is important.

Not only can many chemicals cause skin irritation or burns, but also absorption through the skin can be a significant route of exposure to certain chemicals. Dimethyl sulfoxide (DMSO), nitrobenzene, and many solvents are examples of chemicals that can be readily absorbed through the skin into the bloodstream, where the chemical may cause harmful effects.

When Should Gloves be worn

Protective gloves should be worn when handling hazardous materials, chemicals of unknown toxicity, corrosive materials, rough or sharp-edged objects, and very hot or very cold materials. When handling chemicals in a laboratory, disposable latex, vinyl or nitrile examination gloves are usually appropriate for most circumstances. These gloves will offer protection from incidental splashes or contact.

When working with chemicals with high acute toxicity, working with corrosives in high concentrations, handling chemicals for extended periods of time or immersing all or part of a hand into a chemical, the appropriate glove material should be selected, based on chemical compatibility.

Selecting the Appropriate Glove Material

When selecting the appropriate glove, the following characteristics should be considered:

- degradation rating

- breakthrough time

- permeation rate.

Degradation is the change in one or more of the physical properties of a glove caused by contact with a chemical. Degradation typically appears as hardening, stiffening, swelling, shrinking or cracking of the glove. Degradation ratings indicate how well a glove will hold up when exposed to a chemical. When looking at a chemical compatibility chart, degradation is usually reported as E (excellent), G (good), F (fair), P (poor), NR (not recommended) or NT (not tested).

Breakthrough time is the elapsed time between the initial contact of the test chemical on the surface of the glove and the analytical detection of the chemical on the inside of the glove.

Permeation rate is the rate at which the test chemical passes through the glove material once breakthrough has occurred and equilibrium is reached. Permeation involves absorption of the chemical on the surface of the glove, diffusion through the glove, and desorption of the chemical on the inside of the glove. Resistance to permeation rate is usually reported as E (excellent), G (good), F (fair), P (poor) or NR (not recommended). If chemical breakthrough does not occur, then permeation rate is not measured and is reported ND (none detected).

Manufacturers stress that permeation and degradation tests are done under laboratory test conditions, which can vary significantly from actual conditions in the work environment. Users may opt to conduct their own tests, particularly when working with highly toxic materials. Best Glove is a supplier that gives some guidelines on how to select the best glove on their web page.

For mixtures, it is recommended that the glove material be selected based on the shortest breakthrough time.

The following table includes major glove types and their general uses. This list is not exhaustive.

| Glove Material | General Uses |
| --- | --- |
| Butyl | Offers the highest resistance to permeation by most gases and water vapor. Especially suitable for use with esters and ketones. |
| Neoprene | Provides moderate abrasion resistance but good tensile strength and heat resistance. Compatible with many acids, caustics and oils. |
| Nitrile | Excellent general duty glove. Provides protection from a wide variety of solvents, oils, petroleum products and some corrosives. Excellent resistance to cuts, snags, punctures and abrasions. |
| PVC | Provides excellent abrasion resistance and protection from most fats, acids, and petroleum hydrocarbons. |
| PVA | Highly impermeable to gases. Excellent protection from aromatic and chlorinated solvents. Cannot be used in water or water-based solutions. |
| Viton | Exceptional resistance to chlorinated and aromatic solvents. Good resistance to cuts and abrasions. |
| Silver Shiel | Resists a wide variety of toxic and hazardous chemicals. Provides the highest level of overall chemical resistance. |
| Natural rubber | Provides flexibility and resistance to a wide variety of acids, caustics, salts, detergents and alcohols. |

Where to Find Compatibility Information

Most glove manufacturers have chemical compatibility charts available for their gloves. These charts may be found in laboratory safety supply catalogues such as Lab Safety Supply and Princeton University Glove Use Information. Best Gloves has a great deal of information available on their web site, including a downloadable glove selection program.

Most material safety data sheets (MSDS) recommend the most protective glove material in their Protective Equipment section. There are MSDS for many laboratory chemicals available on the web.

Other Considerations

There are several factors besides glove material to consider when selecting the appropriate glove. The amount of dexterity needed to perform a particular manipulation must be weighed against the glove material recommended for maximum chemical resistance. In some cases, particularly when working with delicate objects where fine dexterity is crucial, a bulky glove may actually be more of a hazard.

Where fine dexterity is needed, consider double gloving with a less compatible material, immediately removing and replacing the outer glove if there are any signs of contamination. In some cases, such as when wearing Silver Shield gloves, it may be possible to wear a tight-fitting glove over the loose glove to increase dexterity.

Glove thickness, usually measured in mils or gauge, is another consideration. A 10-gauge glove is equivalent to 2.5mm. Thinner, lighter gloves offer better touch sensitivity and flexibility, but may provide shorter breakthrough times. Generally, doubling the thickness of the glove quadruples the breakthrough time.

Glove length should be chosen based on the depth to which the arm will be immersed or where chemical splash is likely. Gloves longer than 15 cm provide extra protection against splash or immersion.

Glove size may also be important. One size does not fit all. Gloves which are too tight tend to cause fatigue, while gloves which are too loose will have loose finger ends which make work more difficult. The circumference of the hand, measured in inches, is roughly equivalent to the reported glove size. Glove color, cuff design, and lining should also be considered for some tasks.

Glove Inspection, Use and Care

All gloves should be inspected for signs of degradation or puncture before use. Test for pinholes by blowing or trapping air inside and rolling them out. Do not fill them with water, as this makes the gloves uncomfortable and may make it more difficult to detect a leak when wearing the glove.

Disposable gloves should be changed when there is any sign of contamination.

Reusable gloves should be washed frequently if used for an extended period of time.

While wearing gloves, be careful not to handle anything but the materials involved in the procedure. Touching equipment, phones, wastebaskets or other surfaces may cause contamination. Be aware of touching the face, hair, and clothing as well. Before removing them, wash the outside of the glove. To avoid accidental skin exposure, remove the first glove by grasping the cuff and peeling the glove off the hand so that the glove is inside out. Repeat this process with the second hand, touching the inside of the glove cuff, rather than the outside. Wash hands immediately with soap and water.

Follow the manufacturer’s instructions for washing and caring for reusable gloves.

Latex Gloves and Related Allergies

Allergic reactions to natural rubber latex have been increasing since 1987, when the Center for Disease Control recommended the use of universal precautions to protect against potentially infectious materials, bloodborne pathogens and HIV. Increased glove demand also resulted in higher levels of allergens due to changes in the manufacturing process. In addition to skin contact with the latex allergens, inhalation is another potential route of exposure. Latex proteins may be released into the air along with the powders used to lubricate the interior of the glove.

In June, 1997, the National Institute of Occupational Safety and Health (NIOSH) issued an alert Preventing Allergic Reactions to Latex in the Workplace (publication number DHHS (NIOSH) 97-135). Latex exposure symptoms include skin rash and inflammation, respiratory irritation, asthma and shock. The amount of exposure needed to sensitize an individual to natural rubber latex is not known, but when exposures are reduced, sensitization decreases. NIOSH recommends the following actions to reduce exposure to latex:

- Whenever possible, substitute another glove material.

- If latex gloves must be used, choose reduced-protein, powder-free latex gloves.

- Wash hands with mild soap and water after removing latex gloves.

Some Reviews on Latex Allergies are available from the CHO.

### Hearing Protection

Most laboratory equipment and operations do not produce noise levels that require the use of hearing protection. Laboratory workers who would like to use hearing protection can do so by using hearing protection, such as earplugs, earmuffs or hearing bands. The most common noisy equipment in the laboratories are ultrasonicators, but their noise levels are usually well below 85 dBA, averaged over eight hours.

### Respiratory Protection

A respirator may only be used when engineering controls, such as general ventilation or a fume hood, are not feasible or do not reduce the exposure of a chemical to acceptable levels. Since the use of a respirator is regulated by the OHS Act, respirator use is subject to prior review by the CHO.

Any worker who believes that respiratory protection is needed must notify the LSO for evaluation of the hazard environment. The evaluation involves procedures for respirator selection, medical assessment of employee health, employee training, proper fitting, respirator inspection and maintenance, and recordkeeping.

Self-contained breathing apparatus is available in each of the main laboratories for use by trained individuals for changing out cylinders of highly toxic gases and cleaning up chemical spills. They are not to be used for fire safety. Contact the LSO if you are interested for this training.

# Part G

# Standard Operating Procedures

General Philosophy

General Laboratory Rules

Planning

Scaled-up Reactions

Unattended Operations

Working Alone

Chemical Storage

Chemical Transportation

Flammable materials

Peroxide Forming Compounds

Corrosive Materials

Compressed Gases

Cryogenics

Electrical Safety

Pressure and Vacuum Systems

Waste Disposal

Chemical Spills

## General Philosophy

The decision to procure a chemical shall be a commitment to handle and use the chemical properly from initial receipt to ultimate disposal.

## General Laboratory Rules

### Personal Behaviour

Professional standards of personal behaviour are required in any laboratory:

- Skin contact with chemicals should be avoided

- Direct contact with chemicals is to be avoided. Do not smell, taste or inhale any chemical.

- No food, drinks, cigarettes or cosmetics will be stored in an area which contains chemicals.

- No eating, drinking, smoking, or application of cosmetics may occur in the laboratory areas where chemicals are being used.

- All persons handling chemicals shall wash hands and other exposed areas of body after handling chemicals and before -leaving laboratory.

- Avoid distracting or startling other workers

- Do not allow practical jokes or horseplay

- Use laboratory equipment only for its designated purpose

- Do not allow visitors, including children and pets, in laboratories where hazardous substances are stored or are in use or hazardous activities are in progress.

- Do not prepare, store (even temporarily), or consume food or beverages in any chemical laboratory

- Do not smoke in any chemical laboratory. Additionally, be aware that tobacco products in opened packages can absorb chemical vapors.

- Do not apply cosmetics when in the laboratory

- Never wear or bring lab coats or jackets into areas where food is consumed.

- Confine long hair and loose clothing in the laboratory. Wear shoes at all times. Open-toed shoes or sandals are not appropriate.

- Under no circumstances should mouth suction be used to pipette chemicals or to start a siphon. Use a pipette bulb or a mechanical pipetting device to provide a vacuum.

- Wash well before leaving the laboratory. Do not use solvents for washing skin.

- Keep work areas clean and free from obstruction. Clean up spills immediately.

- Do not block access to exits, emergency equipment, controls, electrical panels etc.

- Avoid working alone.

### Chemical Handling

- Mouth pipetting is prohibited.

- Inspect equipment and apparatus before use with a hazardous chemical. Do not use damaged or questionable equipment.

- All glassware will be handled and stored with care to minimize breakage; all broken glassware will be immediately disposed of in the broken glass container.

- Dewar flasks and other evacuated glass apparatus shall be shielded to contain chemicals and glass fragments should implosion occur.

- Lab benches should be kept clear of clutter.

- All apparatus shall be thoroughly cleaned and returned to storage upon completion of usage.

- Chemical containers shall be clean, properly labeled and returned to storage upon completion of usage.

- Compounds that may be capable of developing explosive peroxides, such as ether, will be dated upon receipt, and be consumed or disposed of within six months.

- Flammable solvents in the laboratory will be limited to a quantity that may be consumed in one week.

- Consult the MSDS for spill containment and personal protective equipment information before cleaning up any chemical spill.

- All spills on lab benches and floors shall be immediately cleaned up and properly disposed of. Larger spills will necessitate the implementation of an Emergency Action Plan.

- If a spill occurs, notify all personnel that may be affected

- If a spill occurs, use every possible means to limit the area of the spill as much as possible. Absorbent pillows or blankets, paper towel, Speedi-Dri or other available materials may be used for this purpose.

- If a spill involves a flammable material, all potential sources of ignition must be shut off. This includes appliances, burners, ovens, etc.

- Fume hood ventilation should be maintained in the event of a flammable material so that the vapours may be removed and/or diluted.

- In the event of a mercury spill, small and large vacuums are available from EHS.

- Aisles, hallways, and stairways should be kept clear. They should not be used to store equipment or chemicals.

- Emergency equipment such as showers, eye washes, fire extinguishers, fire blankets, first aid boxes, and fire alarms should never be blocked and should always have a clear path to them.

- If work involves hazardous substances, trash should not be thrown in with regular waste. Special cleaning arrangements need to be made regarding disposal of this type of waste.

- Needles and sharp pipettes should be placed in a rigid, disposable, puncture-proof container which has been specifically labelled for sharps.

- Waste chemicals may not be placed in ordinary trash containers.

- All waste containers must be labelled with chemical names. If it is a mixture the amounts and percent solutions need to be recorded. Generic labels such as organic waste are unacceptable.

- Do not discharge to the sewer concentrated acids or bases, highly toxic, malodorous, or lachrymatory substances or any substances which might interfere with the biological activity of waste water treatment plants, create fire or explosion hazards, cause structural damage or obstruct flow.

- Contaminated waste should be placed in properly labelled receptacle and EHS notified for disposition.

- Never carry a container by the lid.  A lid may easily break under the weight of the bottle.  Carry the container with both hands, using one to support it from the bottom.  Never carry more than what you can handle.

- Use a bottle carrier, cart or other secondary container when transporting chemicals in breakable containers (especially 250 ml or more) through hallways. Secondary containers are made of rubber, metal or plastic, with carrying handle(s), and are large enough to hold the entire contents of the chemical containers in the event of breakage.

- When moving in the laboratory, anticipate sudden backing up or changes in direction by others. If you should stumble or fall while carrying glassware or chemicals, try to project them away from yourself and others.

- The individual transporting the chemical should be knowledgeable about the hazards of the chemical and should know how to handle a spill of the material.

### Planning

Every laboratory worker should observe the following rules:

- Know the potential hazards and appropriate safety precautions before beginning work.

- Ask and be able to answer the following questions:

    - What are the hazards?

    - What are the worst things that could happen?

    - What do I need to do to be prepared?

    - What work practices, facilities or personal protective equipment are needed to minimize the risk?

- Know the location and how to use emergency equipment, including safety showers and eyewash stations.

- Familiarize yourself with the emergency response procedures, facility alarms and building evacuation routes.

- Know the types of personal protective equipment available and how to use them for each procedure.

- Be alert to unsafe conditions and actions and bring them to the attention of your supervisor or lab manager immediately so that corrections can be made as soon as possible.

- Prevent pollution by following waste disposal procedures. Chemical reactions may require traps or scrubbing devices to prevent the release of toxic substances to the laboratory or to the environment.

- Position and clamp reaction apparatus thoughtfully in order to permit manipulation without the need to move the apparatus until the entire reaction is completed. Combine reagents in the appropriate order and avoid adding solids to hot liquids.

A suspension of experimental operations and a safety review of the process may be necessary when procedural changes or material substitution occurs. The lecturer or supervisor should conduct a thorough review before activities are resumed. Examples of possible situations include:

- A new procedure, process, or test even if it is similar to older procedures.

- A change or substitution of the chemicals used in the procedure.

- A substantial change in the amount of chemicals used, e.g. an increase of 20- 25%.

- Failure of any equipment used, especially safeguards such as fume hoods.

- Unexpected reaction results (pressure increase, faster reaction rates, heat generation, unanticipated byproducts, etc.) should initiate a safety review of the experiment.

- Illness or symptoms that could be attributed to chemical exposure. Unexpected odours or irritants.

### Scaled-up Reactions

Scale-up of reactions from those producing a few milligrams or grams to those producing more than 100g of a product may represent several orders of magnitude of added risk. The attitudes, procedures and controls applicable to large-scale laboratory reactions are fundamentally the same as those for smaller-scale procedures. However, differences in heat transfer, stirring effects, times for dissolution, and effects of concentration and the fact that substantial amounts of materials are being used introduce the need for special vigilance for scaled-up work. Careful planning and consultation with experienced workers to prepare for any eventuality are essential for large-scale laboratory work.

Although it is not always possible to predict whether a scaled-up reaction has increased risk, hazards should be evaluated if the following conditions exist:

- The starting material and/or intermediates contain functional groups that have a history of being explosive (e.g., N—N, N—O, N—halogen, O—O, and O—halogen bonds) or that could explode to give a large increase in pressure.

- A reactant or product is unstable near the reaction or work-up temperature. A preliminary test consists of heating a small sample in a melting point tube.

- A reaction is delayed; that is, an induction period is required.

- Gaseous by-products are formed.

- A reaction is exothermic. Consider what can be done to provide cooling if the reaction begins to run away.

- A reaction requires a long reflux period. Consider what could happen if solvent is lost owing to poor condenser cooling.

- A reaction requires temperatures below 0ºC. Consider what could happen if the reaction warms to room temperature.

In addition, thermal phenomena that produce significant effects on a larger scale may not have been detected in smaller-scale reactions and therefore could be less obvious than toxic and/or environmental hazards. Thermal analytical techniques should be used to determine whether any process modifications are necessary.

### Unattended Operations

Laboratory operations involving hazardous substances are sometimes carried out continuously or overnight with no one present. It is the responsibility of the worker to design these experiments so as to prevent the release of hazardous substances in the event of interruptions in utility services such as electricity, cooling water, and inert gas.

- Laboratory lights should be left on, and signs should be posted identifying the nature of the experiment and the hazardous substances in use.

- If appropriate, arrangements should be made for other workers to periodically inspect the operation.

- The Emergency Information Poster should include contact information for the responsible individual in the event of an emergency.

- Precautions for containment of toxic substances in the event of a failure of a utility service (such as a power failure) must be made.

- Carefully examine how chemicals and apparatus are stored, considering the possibility for fire, explosion or unintended reactions.

### Working Alone

Individuals using hazardous chemicals should not work alone. Another individual capable of coming to the aid of the worker should be in visual or audio contact.

If working alone is absolutely necessary, the worker should have a phone immediately available and should be in contact with another person (who knows that he or she is being relied upon) at least every 30 minutes.

If no one from the laboratory is available, ask security guard to check up on you every 30 minutes.

The supervisor or safety officer is responsible for determining whether the work requires special precautions, such as having two people in the same room for particular operations.

## Chemical Storage

### General Considerations

Chemicals may only be stored in allocated stores or in the laboratory.  No chemicals are allowed in offices, classrooms or other quarters.

In general, store materials and equipment in cabinets and on shelving provided for such storage.  All chemicals should be properly identified, classified and handled.

- Avoid storing materials and equipment on top of cabinets. If you must place things there, however, you must maintain a clearance of at least 46 cm from the sprinkler heads or (if no sprinkler heads are present) 60 cm from the ceiling.

- Be sure that the weight of the chemicals does not exceed the load capacity of the shelf or cabinet.

- Wall-mounted shelving must have heavy-duty brackets and standards. This type of shelving is not recommended for chemical storage.

- Cabinets for chemical storage must be of solid, sturdy construction, preferably hardwood or metal.

- Do not store materials on top of high cabinets where they will be hard to see or reach.

- Do not store corrosive liquids above eye level.

- Provide a specific storage location for each type of chemical, and return the chemicals to those locations after each use.

- Avoid storing chemicals in the workspace within a laboratory hood, except for those chemicals currently in use.

- If a chemical does not require a ventilated cabinet, store it inside a closable cabinet or on a shelf that has a lip to prevent containers from sliding off in the event of an accident or fire.

- Do not expose chemicals to heat or direct sunlight.

- Observe all precautions regarding the storage of incompatible chemicals.

- Use corrosion resistant storage trays or secondary containers to collect materials if the primary container breaks or leaks.

- Distinguish between refrigerators used for chemical storage and refrigerators used for food storage. Each refrigerator should be labelled "No Food" or "Food Only".

- Do not store flammable liquids in a refrigerator unless it is approved for such storage. Such refrigerators are designed with non-sparking components to avoid an explosion.

- Chemical storage cabinets located outside the laboratory (e.g., in hallways) should be labelled with the name of the laboratory group that owns and uses it.

### Segregation of Chemicals

Incompatible chemicals should not be stored together. Storing chemicals alphabetically, without regard to compatibility, can increase the risk of a hazardous reaction, especially in the event of container breakage. There are several resources available for determining chemical compatibility, both in print and on-line.  Some particularly good ones include Ohio State University Chemistry Department and the National Oceanic and Atmospheric Administration Chemical Reactivity Worksheet.

Use common sense when setting up chemical storage. Segregation that disrupts normal workflow can increase the potential for spills.

There are several possible storage plans for segregation. In general, dry reagents, liquids and compressed gases should be stored separately, then by hazard class, then alphabetically (if desired).

Segregate dry reagents as follows:

Oxidizing salts

Flammable solids

Water-reactive solids

All other solids

Segregate liquids as follows:

Acids

Bases

Oxidizers

Perchlorates

Flammable or combustible liquids

All other liquids

Segregate compressed gases as follows:

Toxic gases

Flammable gases

Oxidizing and inert gases

### Flammable Liquids

Flammable liquids require special storage considerations. The OHS Act “General Safety Regulations” specifies the legal particulars for use and storage of flammable liquids.

### Unstable Chemicals

Ethers and some ketones and olefins may form peroxides when exposed to air or light. Since they may have been packaged in an air atmosphere, peroxides can form even if the container has not been opened.

Some chemicals, such as dinitroglycerine and germane, are shock-sensitive, meaning that they can rapidly decompose or explode when struck, vibrated or otherwise agitated. These compounds become more shock-sensitive with age.

For any potentially unstable chemical:

- On the label, write the date the container was received and the date it was opened.

- Discard containers within 6 months of opening them.

- Discard unopened containers after one year, unless an inhibitor was added.

### Designated Areas

Any area where particularly hazardous substances, including carcinogens, acutely toxic chemicals and reproductive toxins, are stored or used must be posted as a Designated Area. These materials should be stored separately from other chemicals, as space permits.

### Compressed Gases

Compressed gases pose a chemical hazard due to the gases themselves and a high energy source hazard due to the great amount of pressure in the cylinder. Large cylinders may weight 60 kg or more and can pose a crush hazard to hands and feet.

- All cylinders must be secured to a wall, bench or other support structure using a chain or strap. Alternatively, a cylinder stand may be used.

- Segregate cylinders by gas type (e.g., flammable, inert, etc.).

- Store cylinders away from heat sources and extreme weather conditions.

### Combustible Materials

Common combustible materials, such as paper, wood, corrugated cardboard cartons and plastic labware, if allowed to accumulate, can create a significant fire hazard in the laboratory. Combustible materials not stored in metal cabinets should be kept to a minimum. Store large quantities of such supplies in a separate room, if possible.

### Chemical Transportation

Spills and chemical exposure can occur if chemicals are transported incorrectly. To avoid this type of incident, consider the following:

- Use a bottle carrier, cart or other secondary container when transporting chemicals in breakable containers (especially 250 ml or more) through hallways or between buildings. Secondary containers are made of rubber, metal or plastic, with carrying handle(s), and are large enough to hold the entire contents of the chemical containers in the event of breakage.

- Transport of hazardous chemicals in individual containers exceeding four litres between buildings is strongly discouraged.

- The individual transporting the chemical should be knowledgeable about the hazards of the chemical and should know how to handle a spill of the material.

- When transporting compressed gas cylinders, the cylinder should always be strapped in a cylinder cart and the valve protected with a cover cap. Do not attempt to carry or roll cylinders from one area to another.

- Transport chemicals in freight elevators rather than passenger elevators, if available.

- Keep chemicals in their original packing when transporting, if possible.

## Flammable Material

Flammable liquid.  Any liquid which produces a vapour that forms and explosive mixture with air, and includes any liquid with a closed-cup flash-point less that 55°C.

### Properties of Flammable and Combustible Liquids

Flammable and combustible liquids vaporize and form flammable mixtures with air when in open containers, when leaks occur, or when heated. To control these potential hazards, several properties of these materials, such as volatility, flashpoint, flammable range and autoignition temperatures must be understood. An explanation of these terms and other properties of flammable liquids is available the Laboratory Training Guide. Information on the properties of a specific liquid can be found in that liquid’s material safety data sheet (MSDS), or other reference material.

### Storage of Flammable and Combustible Liquids

In general, flammable and combustible liquids should be stored only in approved containers and only that quantity of flammable liquid needed for one day of work may be stored in the laboratory. Containers used by the manufacturers of flammable and combustible liquids generally meet these specifications.

## Safety Cans and Closed Containers

Many types of containers are required depending on the quantities and classes of flammable or combustible liquids in use. A safety can is an approved container of not more than 23 litre capacity that has a spring closing lid and spout cover. Safety cans are designed to safely relieve internal pressure when exposed to fire conditions. A closed container is one sealed by a lid or other device so that liquid and vapor cannot escape at ordinary temperatures.

## Flammable Liquid Storage Cabinets

A flammable liquid storage cabinet is an approved cabinet that has been designed and constructed to protect the contents from external fires. Storage cabinets are usually equipped with vents, which are plugged by the cabinet manufacturer. Since venting is not required by any code or the by local municipalities and since venting may actually prevent the cabinet from protecting its contents, vents should remain plugged at all times. Storage cabinets must also be conspicuously labeled "FLAMMABLE – KEEP FIRE AWAY".

## Refrigerators

Use only those refrigerators that have been designed and manufactured for flammable liquid storage. Standard household refrigerators must not be used for flammable storage because internal parts could spark and ignite. Refrigerators must be prominently labeled as to whether or not they are suitable for flammable liquid storage.

### Storage Considerations

- Quantities should be limited to the amount necessary for the work in progress.

- Storage of flammable liquids must not obstruct any exit.

- Flammable liquids should be stored separately from strong oxidizers, shielded from direct sunlight, and away from heat sources. See Anecdotes for a description of an incident involving a flammable material stored near a hot plate.

### Handling Precautions

The main objective in working safely with flammable liquids is to avoid accumulation of vapours and to control sources of ignition.

Besides the more obvious ignition sources, such as open flames from Bunsen burners, matches and cigarette smoking, less obvious sources, such as electrical equipment, static electricity and gas-fired heating devices should be considered.

Some electrical equipment, including switches, stirrers, motors, and relays can produce sparks that can ignite vapours. Although some newer equipment have spark-free induction motors, the on-off switches and speed controls may be able to produce a spark when they are adjusted because they have exposed contacts. One solution is to remove any switches located on the device and insert a switch on the cord near the plug end.

Pouring flammable liquids can generate static electricity. The development of static electricity is related to the humidity levels in the area. Cold, dry atmospheres are more likely to facilitate static electricity. Bonding or using ground straps for metallic or non-metallic containers can prevent static generation.

- Control all ignition sources in areas where flammable liquids are used.

- Smoking, open flames and spark producing equipment should not be used.

- Whenever possible use plastic or metal containers or safety cans.

- When working with open containers, use a laboratory fume hood to control the     accumulation of flammable vapor.

- Use bottle carriers for transporting glass containers.

- Use equipment with spark-free, intrinsically safe induction motors or air motors to avoid producing sparks. These motors must meet National explosion resistance specifications. Many stirrers, Variacs, outlet strips, ovens, heat tape, hot plates and heat guns do not comform to these code     requirements.

- Avoid using equipment with series-wound motors, since they are likely to produce sparks.

- Do not heat flammable liquids with an open flame. Steam baths, salt and sand baths, oil and wax baths, heating mantles and hot air or nitrogen baths are preferable.

- Minimize the production of vapors and the associated risk of ignition by flashback. Vapors from flammable liquids are denser than air and tend to sink to the floor level where they can spread over a large area.

- Electrically bond metal containers when transferring flammable liquids from one to another. Bonding can be direct, as a wire attached to both containers, or indirect, as through a common ground system.

- When grounding non-metallic containers, contact must be made directly to the liquid, rather than to the container.

- In the rare circumstance that static cannot be avoided, proceed slowly to give the charge time to disperse or conduct the procedure in an inert atmosphere.

### Flammable Aerosols

Flammable liquids in pressurized containers may rupture and aerosolize when exposed to heat, creating a highly flammable vapor cloud. As with flammable liquids, these should be stored in a flammable storage cabinet.

### Flammable and Combustible Solids

Flammable solids often encountered in the laboratory include alkali metals, magnesium metal, metallic hydrides, some organometallic compounds, and sulfur. Many flammable solids react with water and cannot be extinguished with conventional dry chemical or carbon dioxide extinguishers.

- Ensure Class D extinguishers are available where flammable solids are used or stored.

- Sand can usually be used to smother a fire involving flammable solids. Keep a container of sand near the work area.

- If a flammable, water-reactive solid is spilled onto skin, brush off as much as possible, then flush with copious amounts of water.

- NEVER use a carbon dioxide fire extinguisher for fires involving lithium aluminum hydride (LAH). LAH reacts explosively with carbon dioxide.

### Catalyst Ignition

Some hydrogenated catalysts, such as palladium, platinum oxide, and Raney nickel, when recovered from hydrogenation reactions, may become saturated with hydrogen and present a fire or explosion hazard.

- Carefully filter the catalyst.

- Do not allow the filter cake to become dry.

- Place the funnel containing moist catalyst into a water bath immediately.

Purge gases, such as nitrogen or argon, may be used so that the catalyst can be filtered and handled in an inert atmosphere.

### Peroxide Forming Compounds

Certain chemicals can form dangerous peroxides on exposure to air and light. Since they are sometimes packaged in an atmosphere of air, peroxides can form even though the containers have not been opened. Peroxides may detonate with extreme violence when concentrated by evaporation or distillation, when combined with other compounds, or when disturbed by unusual heat, shock or friction. Formation of peroxides in ethers is accelerated in opened and partially emptied containers. Refrigeration will not prevent peroxide formation and stabilizers will only retard formation.

Peroxide formation may be detected by visual inspection for crystalline solids or viscous liquids, or by using chemical methods or specialized kits for quantitative or qualitative analysis. If you suspect that peroxides have formed, do not open the container to test since peroxides deposited on the threads of the cap could detonate.

### Recommended Practices

The following recommendations should be followed to control the hazards of peroxides.

- Know the properties and hazards of all chemicals you are using through adequate research and study, including reading the label and MSDS.

- Inventory all chemical storage at least twice a year to detect forgotten items, leaking containers, and those that need to be discarded.

- Identify chemicals that form peroxides or otherwise deteriorate or become more hazardous with age or exposure to air. Label containers with the date received, the date first opened and the date for disposal as recommended by the supplier.

- Minimize peroxide formation in ethers by storing in tightly sealed containers placed in a cool place in the absence of light. Do not store ethers at or below the temperature at which the peroxide freezes or the solution precipitates.

- Choose the size container that will ensure use of the entire contents within a short period of time.

- Visually or chemically check for peroxides of any opened containers before use.

- Clean up spills immediately. The safest method is to absorb the material onto vermiculite or a similar loose absorbent.

- When working with peroxidizable compounds, wear impact-resistant safety eyewear and face shields. Standard lab safety goggles are intended only for slight and brief exposure, and should not be used when working with peroxidizable compounds.

- Do not use solutions of peroxides in volatile solvents under conditions in which the solvent might be vaporized. This could increase the concentration of peroxide in the solution.

- Do not use metal spatulas or magnetic stirring bars (which may leach out iron) with peroxide forming compounds, since contamination with metals can lead to explosive decomposition. Ceramic, Teflon or wooden spatulas and stirring blades are usually safe to use.

- Do not use glass containers with screw-top lids or glass stoppers.

- Polyethylene bottles with screw-top lids may be used.

### Examples of Peroxidizable Compounds

| Peroxide Hazard on Storage: Discard After Three Months |  |
| --- | --- |
| Divinyl acetylene Divinyl ether Isopropyl ether | Potassium metal Sodium amide Vinylidene chloride |
| Peroxide Hazard on Storage: Discard After One Year |  |
| Acetal Cumene Cyclohexene Cyclooxyene Cyclopentene Diacetylene Dicyclopentadiene Diethyl ether Diethylene glycol dimethyl ether (diglyme) | Dioxane Ethylene glycol dimethyl ether (glyme) Furan Methyl acetylene Methylcyclopentane Methyl isobutyl ketone Tetrahydronaphtalene (Tetralin) Tetrahydrofuran Vinyl ethers |
| Hazardous due to Peroxide Initiation of Polymerization*: Discard After One Year |  |
| Acrylic acid Acrylonitrile Butadiene Chloroprene Chlorotrifluoroethylene Methyl methacrylate | Styrene Tetrafluoroethylene Vinyl acetylene Vinyl acetate Vinyl chloride Vinyl pyridine |

* Under storage conditions in the liquid state the peroxide-forming potential increases and certain of these monomers (especially butadiene, chloroprene, and tetrafluoroethylene) should be discarded after three months.

### Detection of Peroxides

If there is any suspicion that peroxide is present, do not open the container or otherwise disturb the contents. Call EHS for disposal. The container and its contents must be handled with extreme care. If solids, especially crystals, for example, are observed either in the liquid or around the cap, peroxides are most likely present.

If no peroxide is suspected but the chemical is a peroxide former, the following procedures can detect most peroxides.

- Prepare reagent by adding 100 mg sodium iodide (NaI) or potassium iodide (KI) crystals to 1.0 ml of glacial acetic acid. Add 0.5 to 1.0 ml of material being tested to an equal volume of reagent. A yellow colour indicates a low concentration (~0.1 per cent) and brown a high concentration of peroxide in the sample. A blank should be run, using some non-peroxidizable compound such as pure n-hexane.

- Peroxide test strips, which change colour to indicate the presence of peroxides, may be purchased through most laboratory reagent distributors. For proper operation, the strips must be air-dried until the solvent evaporates and then exposed to moisture.

### Removal of Peroxides

There are two effective methods for removing peroxides safely:

- Pass the solvent through a short column of activated alumina. No water is thereby introduced. The alumina catalyzes the decomposition of many     peroxides, but it is possible that some peroxide will be retained unchanged on the column. The alumina should therefore be disposed of as a flammable material.

- Make up a reducing solution from 60 g ferrous sulfate (FeSO4), 6 ml concentrated sulfuric acid (H2SO4), and 110 ml water. Shake the sample with this solution to remove the peroxide.

## Corrosive Materials

Many chemicals commonly used in the laboratory are corrosive or irritating to body tissue. They present a hazard to the eyes and skin by direct contact, to the respiratory tract by inhalation or to the gastrointestinal system by ingestion.

### Corrosive Liquids

Corrosive liquids (e.g. mineral acids, alkali solutions and some oxidizers) represent a very significant hazard because skin or eye contact can readily occur from splashes and their effect on human tissue generally takes place very rapidly. Bromine, sodium hydroxide, sulfuric acid and hydrogen peroxide are examples of highly corrosive liquids.

The following should be considered:

- The eyes are particularly vulnerable. It is therefore essential that approved eye and face protection be worn in all laboratories where corrosive chemicals are handled.

- Gloves and other chemically resistant protective clothing should be worn to protect against skin contact.

- To avoid a flash steam explosion due to the large amount of heat evolved, always add acids or bases to water (and not the reverse).

- Acids and bases should be segregated for storage.

- Liquid corrosives should be stored below eye level.

- Adequate quantities of spill control materials should be readily available. Specialized spill kits for acids and bases are available through most chemical and laboratory safety supply catalogs.

### Corrosive Gases and Vapors

Corrosive gases and vapors are hazardous to all parts of the body; certain organs (e.g. the eyes and the respiratory tract) are particularly sensitive. The magnitude of the effect is related to the solubility of the material in the body fluids. Highly soluble gases (e.g. ammonia, hydrogen chloride) cause severe nose and throat irritation, while substances of lower solubility (e.g. nitrogen dioxide, phosgene, sulfur dioxide) can penetrate deep into the lungs.

- Warning properties such as odor or eye, nose or respiratory tract irritation may be inadequate with some substances. Therefore, they should not be relied upon as a warning of overexposure.

- Perform manipulations of materials that pose an inhalation hazard in a chemical fume hood to control exposure or wear appropriate respiratory protection.

- Protect all exposed skin surfaces from contact with corrosive or irritating gases and vapors.

- Regulators and valves should be closed when the cylinder is not in use and flushed with dry air or nitrogen after use.

- When corrosive gases are to be discharged into a liquid, a trap, check valve, or vacuum break device should be employed to prevent dangerous reverse flow.

### Corrosive Solids

Corrosive solids, such as sodium hydroxide and phenol, can cause burns to the skin and eyes. Dust from corrosive solids can be inhaled and cause irritation or burns to the respiratory tract. Many corrosive solids, such as potassium hydroxide and sodium hydroxide, can produce considerable heat when dissolved in water.

- Wear gloves and eye protection when handling corrosive solids.

- When mixing with water, always slowly add the corrosive solid to water, stirring continuously. Cooling may be necessary.

- If there is a possibility of generating a significant amount of dust, conduct work in a fume hood.

## Compressed Gases

Compressed gases can be toxic, flammable, oxidizing, corrosive, inert or a combination of hazards. In addition to the chemical hazards, compressed gases may be under a great deal of pressure. The amount of energy in a compressed gas cylinder makes it a potential rocket. Appropriate care in the handling and storage of compressed gas cylinders is essential.

### Hazards

The following is an overview of the hazards to be avoided when handling and storing compressed gases:

- Asphyxiation: Simple asphyxiation is the primary hazard associated with inert gases. Because inert gases are colorless and odorless, they can escape into the atmosphere undetected and quickly reduce the concentration of oxygen below the level necessary to support life. The use of oxygen monitoring equipment is strongly recommended for enclosed areas where inert gases are being used.

- Fire and Explosion: Fire and explosion are the primary hazards associated with flammable gases, oxygen and other oxidizing gases. Flammable gases can be ignited by static electricity or by a heat source, such as a flame or a hot object. Oxygen and other oxidizing gases do not burn, but will support combustion of organic materials. Increasing the concentration of an oxidizer accelerates the rate of combustion. Materials that are nonflammable under normal conditions may burn in an oxygen-enriched atmosphere.

- Chemical Burns: Corrosive gases can chemically attack various materials, including fire-resistant clothing. Some gases are not corrosive in their pure form, but can become extremely destructive if a small amount of moisture is added. Corrosive gases can cause rapid destruction of skin and eye tissue.

- Chemical Poisoning: Chemical poisoning is the primary hazard of toxic gases. Even in very small concentrations, brief exposure to these gases can result in serious poisoning injuries. Symptoms of exposure may be delayed.

- High Pressure: All compressed gases are potentially hazardous because of the high pressure stored inside the cylinder. A sudden release of pressure can cause injuries by propelling a cylinder or whipping a line.

- Cylinder Weight: A full size cylinder may weigh more than 60 kg. Moving a cylinder manually may lead to back or muscle injury. Dropping or dragging a cylinder could cause serious injury.

### Handling Precautions

- Avoid dropping, dragging or sliding cylinders. Use a suitable hand truck or cart equipped with a chain or belt for securing the cylinder to the cart, even for short distances.

- Do not permit cylinders to strike each other violently. Cylinders should not be used as rollers for moving material or other equipment.

- Cylinder caps should be left on each cylinder until it has been secured against a wall or bench or placed in a cylinder stand, and is ready for installation of the regulator. Cylinder caps protect the valve on top of the cylinder from damage if knocked.

- Never tamper with pressure relief devices in valves or cylinders.

- Use only wrenches or tools provided by the cylinder supplier to remove a cylinder cap or to open a valve. Never use a screwdriver or pliers.

- Keep the cylinder valve closed except when in use.

- Position cylinders so that the cylinder valve is accessible at all times.

- Use compressed gases only in a well-ventilated area. Toxic, flammable and corrosive gases should be carefully handled in a hood or gas cabinet. Proper containment systems should be used and minimum quantities of these products should be kept on-site.

- When discharging gas into a liquid, a trap or suitable check valve should be used to prevent liquid from getting back into the cylinder or regulator.

- Where more than one type of gas is in use, label gas lines. This is particularly important when the gas supply is not in the same room or area as the operation using the gases.

- Do not use the cylinder valve itself to control flow by adjusting the pressure.

### Storage of Compressed Gas Cylinders

- All cylinders must be secured to a wall, bench or fixed support using a chain or strap placed 2/3 of the way up. Cylinder stands are an alternative to straps.

- Cylinders should be strapped individually.

- Do not store full and empty cylinders together.

- Oxidizers and flammable gases should be stored in areas separated by at least 6 meters or by a noncombustible wall.

- Cylinders should not be stored near radiators or other heat sources. If storage is outdoors, protect cylinders from weather extremes and damp ground to prevent corrosion.

- No part of a cylinder should be subjected to a temperature higher than 50ºC. A flame should never be permitted to come in contact with any part of a compressed gas cylinder.

- Do not place cylinders where they may become part of an electric circuit.

- Keep the number of cylinders in a laboratory to a minimum to reduce the fire and toxicity hazards.

- Ensure that the cylinder is properly and prominently labeled as to its contents.

- NEVER place acetylene cylinders on their side.

### Using Compressed Gas Cylinders

Before using cylinders, read all label information and material safety data sheets (MSDSs) associated with the gas being used. The cylinder valve outlet connections are designed to prevent mixing of incompatible gases. The outlet threads vary in diameter; some are internal and some are external; some are right-handed and some are left-handed. Generally, right-handed threads are used for fuel gases.

To set up and use the cylinder, follow these steps:

- Attach the closed regulator to the cylinder. Never open the cylinder valve unless the regulator is completely closed. Regulators are specific to the gas involved. A regulator should be attached to a cylinder without forcing the threads. If the inlet of a regulator does not fit the cylinder outlet, no effort should be made to try to force the fitting. A poor fit may indicate that the regulator is not intended for use on the gas chosen.

- Turn the delivery pressure adjusting screw counter-clockwise until it turns freely. This prevents unintended gas flow into the regulator.

- Open the cylinder slowly until the inlet gauge on the regulator registers the cylinder pressure. If the cylinder pressure reading is lower than expected, the cylinder valve may be leaking.

- With the flow control valve at the regulator outlet closed, turn the delivery pressure adjusting screw clockwise until the required delivery pressure is reached.

- Check for leaks using Snoop or soap solution. At or below freezing temperatures, use a glycerine and water solution, such as Snoop, rather than soap. Never use an open flame to detect leaks.

- When finished with the gas, close the cylinder valve and release the regulator pressure.

### Assembly of Equipment and Piping

- Do not force threads that do not fit exactly.

- Use Teflon tape or thread lubricant for assembly. Teflon tape should only be used for tapered pipe thread, not straight lines or metal-to-metal contacts.

- Avoid sharp bends of copper tubing. Copper tubing hardens and cracks with repeated bending.

- Inspect tubing frequently and replace when necessary.

- Teflon and plastic tubing are not appropriate for most pressure work. These materials can fail under pressure or thermal stress.

- Do not mix different brands and types of tube fittings. Construction parts are usually not interchangeable.

- Do not use oil or lubricants on equipment used with oxygen.

- Do not use copper piping for acetylene.

- Do not use cast iron piping for chlorine.

### Leaking Cylinders

Most leaks occur at the valve in the top of the cylinder and may involve the valve threads valve stem, valve outlet, or pressure relief devices. Lab personnel should not attempt to repair leaking cylinders.

Where action can be taken without serious exposure to lab personnel:

- Move the cylinder to an isolated, well-ventilated area (away from combustible materials if the cylinder contains a flammable or oxidizing gas).

- Contact Campus Control.

Whenever a large or uncontrollable leak occurs, evacuate the area and immediately contact the LSO and campus control.

### Empty Cylinders

- Remove the regulator and replace the cylinder cap.

- Mark the cylinder as empty or MT and store in a designated area for return to the supplier.

- Do not store full and empty cylinders together.

- Do not have full and empty cylinders connected to the same manifold. Reverse flow can occur when an empty cylinder is attached to a pressurized system.

- Do not refill empty cylinders. Only the cylinder supplier should refill gases.

- Do not empty cylinders to a pressure below 25 psi (172 Kpa). The residual contents may become contaminated with air.

### Flammable Gases

- Keep sources of ignition away from the cylinders.

- Oxidizers and flammable gases should be stored in areas separated by at least 6 meters or by a non-combustible wall.

- Bond and ground all cylinders, lines and equipment used with flammable compressed gases.

### Highly Toxic Gases

Highly toxic gases, such as arsine, diborane, fluorine, hydrogen cyanide, phosgene, and silane, can pose a significant health risk in the event of a leak. Use of these materials requires written approval by the Lecturer or Supervisor, using the Particularly Hazardous Substances Use Approval form.

The following additional precautions must be taken:

- Use and store in a specially ventilated gas cabinet or fume hood.

- Use coaxial (double walled) tubing with nitrogen between the walls for feed lines operating above atmospheric pressure.

- Regulators should be equipped with an automatic shut-off to turn off gas supply in the event of sudden loss of pressure in the supply line.

- An alarm system should be installed to check for leaks in routinely used gases with poor warning properties. The alarm level must be set at or lower than the permissible exposure limit of the substance.

- Self-contained breathing apparatus (SCBA) may be appropriate for changing cylinders of highly toxic gases. Use of an SCBA requires enrollment in the Respiratory Protection Program and annual training and fit-testing.

- Ensure storage and use areas are posted with Designated Area signage.

### Gases Requiring Special Handling

The following gases present special hazards either due to their toxicity or physical properties. Review this information before using these gases.

- Acetylene

- Arsine

- Diborane

- Fluorine

- Hydrogen Cyanide

- Germane

- Oxygen

- Phosgene

- Silane

## Cryogenics

Cryogenic liquids have boiling points less than -73ºC. Liquid nitrogen, liquid oxygen and carbon dioxide are the most common cryogenic materials used in the laboratory. Hazards may include fire, explosion, embrittlement, pressure buildup, frostbite and asphyxiation.

Many of the safety precautions observed for compressed gases also apply to cryogenic liquids. Two additional hazards are created from the unique properties of cryogenic liquids:

- Extremely Low Temperatures - The cold boil-off vapor of cryogenic liquids rapidly freezes human tissue. Most metals become stronger upon exposure to cold temperatures, but materials such as carbon steel, plastics and rubber become brittle or even fracture under stress at these temperatures. Proper material selection is important. Cold burns and frostbite caused by cryogenic liquids can result in extensive tissue damage.

- Vaporization - All cryogenic liquids produce large volumes of gas when they vaporize. Liquid nitrogen will expand 696 times as it vaporizes. The expansion ratio of argon is 847:1, hydrogen is 851:1 and oxygen is 862:1. If these liquids vaporize in a sealed container, they can produce enormous pressures that could rupture the vessel. For this reason, pressurized cryogenic containers are usually protected with multiple pressure relief devices.

Vaporization of cryogenic liquids (except oxygen) in an enclosed area can cause asphyxiation. Vaporization of liquid oxygen can produce an oxygen-rich atmosphere, which will support and accelerate the combustion of other materials. Vaporization of liquid hydrogen can form an extremely flammable mixture with air.

### Handling Cryogenic Liquids

Most cryogenic liquids are odorless, colorless, and tasteless when vaporized. When cryogenic liquids are exposed to the atmosphere, the cold boil-off gases condense the moisture in the air, creating a highly visible fog.

- Always handle these liquids carefully to avoid skin burns and frostbite.

- Exposure that may be too brief to affect the skin of the face or hands may damage delicate tissues, such as the eyes.

- Boiling and splashing always occur when charging or filling a warm container with cryogenic liquid or when inserting objects into these liquids. Perform these tasks slowly to minimize boiling and splashing. Use tongs to withdraw objects immersed in a cryogenic liquid.

- Never touch uninsulated pipes or vessels containing cryogenic liquids. Flesh will stick to extremely cold materials. Even nonmetallic materials are dangerous to touch at low temperatures.

- Cylinders and dewars should not be filled to more than 80% of capacity, since expansion of gases during warming may cause excessive pressure buildup.

- Check cold baths frequently to ensure they are not plugged with frozen material.

### Protective Clothing

Face shields worn with safety glasses or chemical splash goggles are recommended during transfer and handling of cryogenic liquids.

Wear loose fitting, dry insulated or leather gloves when handling objects that come into contact with cryogenic liquids and vapor. Trousers should be worn on the outside of boots or work shoes.

### Cooling Baths and Dry Ice

- Neither liquid nitrogen nor liquid air should be used to cool a flammable mixture in the presence of air, because oxygen can condense from the air, leading to an explosion hazard.

- Wear insulated, dry gloves and a face shield when handling dry ice.

- Add dry ice slowly to the liquid portion of the cooling bath to avoid foaming over. Do not lower your head into a dry ice chest, since suffocation can result from carbon dioxide buildup.

### Liquid Nitrogen Cooled Traps

Traps that open to the atmosphere condense liquid air rapidly. If you close the system, pressure builds up with enough force to shatter glass equipment. Therefore, only sealed or evacuated equipment should use liquid nitrogen cooled traps.

### Electrical Safety

Electrically powered equipment, such as hot plates, stirrers, vacuum pumps, electrophoresis apparatus, lasers, heating mantles, ultrasonicators, power supplies, and microwave ovens are essential elements of many laboratories. These devices can pose a significant hazard to laboratory workers, particularly when mishandled or not maintained. Many laboratory electrical devices have high voltage or high power requirements, carrying even more risk. Large capacitors found in many laser flash lamps and other systems are capable of storing lethal amounts of electrical energy and pose a serious danger even if the power source has been disconnected.

### Electrical Hazards

The major hazards associated with electricity are electrical shock and fire. Electrical shock occurs when the body becomes part of the electric circuit, either when an individual comes in contact with both wires of an electrical circuit, one wire of an energized circuit and the ground, or a metallic part that has become energized by contact with an electrical conductor.

The severity and effects of an electrical shock depend on a number of factors, such as the pathway through the body, the amount of current, the length of time of the exposure, and whether the skin is wet or dry. Water is a great conductor of electricity, allowing current to flow more easily in wet conditions and through wet skin. The effect of the shock may range from a slight tingle to severe burns to cardiac arrest. The chart below shows the general relationship between the degree of injury and amount of current for a 60-cycle hand-to-foot path of one second's duration of shock. While reading this chart, keep in mind that most electrical circuits can provide, under normal conditions, up to 20,000 milliamperes of current flow.

| Current | Reaction |
| --- | --- |
| 1 Milliampere | Perception level |
| 5 Milliamperes | Slight shock felt; not painful but disturbing |
| 6-30 Milliamperes | Painful shock; "let-go" range |
| 50-150 Milliamperes | Extreme pain, respiratory arrest, severe muscular contraction |
| 1000-4,300 Milliamperes | Ventricular fibrillation |
| 10,000+ Milliamperes | Cardiac arrest, severe burns and probable death |

In addition to the electrical shock hazards, sparks from electrical equipment can serve as an ignition source for flammable or explosive vapors or combustible materials.

### Power Loss

Loss of electrical power can create hazardous situations. Flammable or toxic vapors may be released as a chemical warms when a refrigerator or freezer fails. Fume hoods may cease to operate, allowing vapors to be released into the laboratory. If magnetic or mechanical stirrers fail to operate, safe mixing of reagents may be compromised.

### Preventing Electrical Hazards

There are various ways of protecting people from the hazards caused by electricity, including insulation, guarding, grounding, and electrical protective devices. Laboratory workers can significantly reduce electrical hazards by following some basic precautions:

- Inspect wiring of equipment before each use. Replace damaged or frayed electrical cords immediately.

- Use safe work practices every time electrical equipment is used.

- Know the location and how to operate shut-off switches and/or circuit breaker panels. Use these devices to shut off equipment in the event of a fire or electrocution.

- Limit the use of extension cords. Use only for temporary operations and then only for short periods of time. In all other cases, request installation of a new electrical outlet.

- Multi-plug adapters must have circuit breakers or fuses.

- Place exposed electrical conductors (such as those sometimes used with electrophoresis devices) behind shields.

- Minimize the potential for water or chemical spills on or near electrical equipment.

Insulation

All electrical cords should have sufficient insulation to prevent direct contact with wires. In a laboratory, it is particularly important to check all cords before each use, since corrosive chemicals or solvents may erode the insulation.

Damaged cords should be repaired or taken out of service immediately, especially in wet environments such as cold rooms and near water baths.

Guarding

Live parts of electric equipment operating at 50 volts or more (i.e., electrophoresis devices) must be guarded against accidental contact. Plexiglas shields may be used to protect against exposed live parts.

Grounding

Only equipment with three-prong plugs should be used in the laboratory. The third prong provides a path to ground for internal electrical short circuits, thereby protecting the user from a potential electrical shock.

Circuit Protection Devices

Circuit protection devices are designed to automatically limit or shut off the flow of electricity in the event of a ground-fault, overload or short circuit in the wiring system. Ground-fault circuit interrupters, circuit breakers and fuses are three well-known examples of such devices.

Fuses and circuit breakers prevent over-heating of wires and components that might otherwise create fire hazards. They disconnect the circuit when it becomes overloaded. This overload protection is very useful for equipment that is left on for extended periods of time, such as stirrers, vacuum pumps, drying ovens, Variacs and other electrical equipment.

The ground-fault circuit interrupter, or GFCI, is designed to shutoff electric power if a ground fault is detected, protecting the user from a potential electrical shock. The GFCI is particularly useful near sinks and wet locations. Since GFCIs can cause equipment to shutdown unexpectedly, they may not be appropriate for certain apparatus. Portable GFCI adapters (available in most safety supply catalogs) may be used with a non-GFCI outlet.

Motors

In laboratories where volatile flammable materials are used, motor-driven electrical equipment should be equipped with non-sparking induction motors or air motors. These motors must meet National explosion resistance specifications. Many stirrers, Variacs, outlet strips, ovens, heat tape, hot plates and heat guns do not comform to these code requirements.

Avoid series-wound motors, such as those generally found in some vacuum pumps, rotary evaporators and stirrers. Series-wound motors are also usually found in household appliances such as blenders, mixers, vacuum cleaners and power drills. These appliances should not be used unless flammable vapors are adequately controlled.

Although some newer equipment have spark-free induction motors, the on-off switches and speed controls may be able to produce a spark when they are adjusted because they have exposed contacts. One solution is to remove any switches located on the device and insert a switch on the cord near the plug end.

### Safe Work Practices

The following practices may reduce risk of injury or fire when working with electrical equipment:

- Avoid contact with energized electrical circuits.

- Disconnect the power source before servicing or repairing electrical equipment.

- When it is necessary to handle equipment that is plugged in, be sure hands are dry and, when possible, wear nonconductive gloves and shoes with insulated soles.

- If it is safe to do so, work with only one hand, keeping the other hand at your side or in your pocket, away from all conductive material. This precaution reduces the likelihood of accidents that result in current passing through the chest cavity.

- Minimize the use of electrical equipment in cold rooms or other areas where condensation is likely. If equipment must be used in such areas, mount the equipment on a wall or vertical panel.

- If water or a chemical is spilled onto equipment, shut off power at the main switch or circuit breaker and unplug the equipment.

- If an individual comes in contact with a live electrical conductor, do not touch the equipment, cord or person. Disconnect the power source from the circuit breaker or pull out the plug using a leather belt.

### High Voltage or Current

Repairs of high voltage or high current equipment should be performed only by trained electricians.

### Altering Building Wiring and Utilities

Any modifications to existing electrical service in a laboratory or building must be completed or approved by Technical Services.

## Pressure and Vacuum Systems

Working with hazardous chemicals at high or low pressures requires planning and special precautions. Procedures should be implemented to protect against explosion or implosion through appropriate equipment selection and the use of safety shields. Care should be taken to select glass apparatus that can safely withstand designated pressure extremes.

### High Pressure Vessels

- High-pressure operations should be performed only in pressure vessels appropriately selected for the operation, properly labelled and installed, and protected by pressure-relief and necessary control devices.

- Vessels must be strong enough to withstand the stresses encountered at the intended operating temperatures and pressures and must not corrode or otherwise react when in contact with the materials it contains.

- Systems designed for use at elevated temperatures should be equipped with a positive temperature controller. Manual temperature control using a simple variable autotransformer, such as a Variac, should be avoided. The use of a back-up temperature controller capable of shutting the system down is strongly recommended.

- All pressure equipment should be inspected and tested at intervals determined by the severity of the equipment's usage. Visual inspections should be accomplished before each use.

- Hydrostatic testing should be accomplished before equipment is placed in initial service. Hydrostatic testing should be re-accomplished every ten years thereafter, after significant repair or modification, or if the vessel experiences overpressure or overtemperature. Contact the NAME (#) for more information about hydrostatic testing.

### Vacuum Apparatus

Vacuum work can result in an implosion and the possible hazards of flying glass, splattering chemicals and fire. All vacuum operations must be set up and operated with careful consideration of the potential risks. Equipment at reduced pressure is especially prone to rapid pressure. Such conditions can force liquids through an apparatus, sometimes with undesirable consequences.

- Personal protective equipment, such as safety glasses or chemical goggles, face shields, and/or an explosion shield should be used to protect against the hazards of vacuum procedures, and the procedure should be carried out inside a hood.

- Do not allow water, solvents and corrosive gases to be drawn into vacuum systems. Protect pumps with cold traps and vent their exhaust into an exhaust hood.

- Assemble vacuum apparatus in a manner that avoids strain, particularly to the neck of the flask.

- Avoid putting pressure on a vacuum line to prevent stopcocks from popping out or glass apparatus from exploding.

- Place vacuum apparatus in such a way that the possibility of being accidentally hit is minimized. If necessary, place transparent plastic around it to prevent injury from flying glass in case of an explosion.

- When possible, avoid using mechanical vacuum pumps for distillation or concentration operations using large quantities of volatile materials. A water aspirator or steam aspirator is preferred. This is particularly important when large quantities of volatile materials are involved.

### Glass Vessels

Although glass vessels are frequently used in pressure and vacuum systems, they can explode or implode violently, either spontaneously from stress failure or from an accidental blow.

- Conduct pressure and vacuum operations in glass vessels behind adequate shielding.

- Ensure the glass vessel is designed for the intended operation.

- Carefully check glass vessels for star cracks, scratches or etching marks before each use. Cracks can increase the likelihood of breakage or may allow chemicals to leak into the vessel.

- Seal glass centrifuge tubes with rubber stoppers clamped in place. Wrap the vessel with friction tape and shield with a metal screen. Alternatively, wrap with friction tape and surround the vessel with multiple layers of loose cloth, then clamp behind a safety shield.

- Glass tubes with high-pressure sealers should be no more than 3/4 full.

- Sealed bottles and tubes of flammable materials should be wrapped in cloth, placed behind a safety shield, then cooled slowly, first with an ice bath, then with dry ice.

- Never rely on corks, rubber stoppers or plastic tubing as pressure-relief devices.

- Glass vacuum dessicators should be made of Pyrex or similar glass and wrapped partially with friction tape to guard against flying glass. Plastic dessicators are a good alternative to glass, but still require shielding.

- Never carry or move an evacuated dessicator.

### Dewar Flasks

Dewar flasks are under pressure and can collapse from thermal shock or slight mechanical shock.

- Shield flasks with friction tape or enclose in a wooden or metal container to reduce the risk of flying glass.

- Use metal flasks if there is a significant possibility of breakage.

- Styrofoam buckets offer a short-term alternative to dewar flasks.

### Rotovaps

Rotovaps can implode under certain conditions. Since some Rotovaps contain components made of glass, this can be a serious hazard. See SOPs for Rotary Evaporators for more information about their safe handling.

## Waste  Disposal

Chemical waste disposal laws are very complex and are inclusive of the majority of chemicals used in the laboratory.  Improper storage and disposal of hazardous chemical wastes presents a direct liability to any person directly involved in storage and disposal.  This liability is associated with imprisonment and/or monetary fines. Supervisors and administrative officials share in that liability.

In general, it is improper to:

- dilute a hazardous chemical waste substance in order to reduce its concentration below regulated limits,

- dump a hazardous chemical waste substance down a drain or into the environment,

- dispose of a hazardous chemical waste in a waste basket, dumpster or landfill

CHO is responsible for coordinating waste disposal at the Nelson Mandela University. To assure compliance with regulations, safe handling, and efficiency of operations, CHO has established the following standards applicable to the collection, storing, labelling, and packaging of these substances by departments.

- Department personnel shall not accept any chemical, hazardous substance, or item/s containing hazardous substances as gifts or donations on behalf of the University without prior approval from HOD. This is to ensure that no unanticipated future hazardous waste costs result from such transfer and for safe transport by the university’s transport and personnel.

- Department personnel shall not give or sell any chemical, hazardous substance, or item/s containing hazardous substances to any person or organization outside the university except through legally established procedures of the Purchasing Department in conjunction with the HOD.

- Under no circumstances is any person to dispose of a hazardous substance down the drain or in the refuse disposal system where the applicable regulations, procedures, and policies regarding its disposal as described in this document or the MSDS for the product prohibit this action or are unknown.

For Hazardous Chemical Substances, the OHS Act HCS regulations requires an employer to:

- recycle all HCS waste;

- ensure that all collectable HCS waste is placed into containers that will prevent the likelihood of exposure during handling;

- ensure that all vehicles, re-usable containers and covers which have been in contact with HCS waste are cleaned and decontaminated after use in such a way that the vehicles, containers or covers do not cause a hazard inside or outside the premises concerned;

- ensure that all HCS waste which can cause exposure, is disposed of only on sites specifically designated for this purpose in terms of the Environmental Conservation Act, 1989 (Act No. 73 of 1989), in such a manner that it does not cause a hazard inside or outside the site concerned;

- ensure that all employees occupied in the collection, transport and disposal of HCS waste, who may be exposed to that waste, are provided with suitable personal protective equipment; and

- ensure that if the services of a waste disposal contractor are used, a provision is incorporated into the contract stating that the contractor shall also comply with the provisions of these regulations

## Basic Procedures

- Collect substances in the original or other suitable primary container.

- Properly label containers as to contents and hazards.

- Properly store containers until ready for disposal.

- When accumulation exceeds storage facilities for a particular area, arrange for transfer of waste through the CHO.

- See Appendix E for an example of the “Waste Disposal Procedure”.

## Chemical Spills

### Spill Response and Clean-up Procedures

In the event of a chemical spill, the individual(s) who caused the spill is responsible for prompt and proper clean-up. It is also their responsibility to have spill control and personal protective equipment appropriate for the chemicals being handled readily available.

The following are general guidelines to be followed for a chemical spill.

- Immediately alert area occupants and supervisor, and evacuate the area, if necessary.

- If there is a fire or medical attention is needed, contact Campus Control.

- Attend to any people who may be contaminated. Contaminated clothing must be removed immediately and the skin flushed with water for no less than fifteen minutes. Clothing must be laundered before reuse. See First Aid for Chemical Exposures for more information.

- If a volatile, flammable material is spilled, immediately warn everyone, control sources of ignition and ventilate the area.

- Wear personal protective equipment, as appropriate to the hazards. Consider the need for respiratory protection. The use of a respirator or self-contained breathing apparatus requires specialized training and medical surveillance. Never enter a contaminated atmosphere without protection or use a respirator without training. If respiratory protection is needed and no trained personnel are available, call LSO or Campus Control. If respiratory protection is used, be sure there is another person outside the spill area in communication, in case of an emergency.

- Using the chart below, determine the extent and type of spill. If the spill is large, if there has been a release to the environment or if there is no one knowledgeable about spill clean-up available, contact CHO or Campus Control.

| Category | Size | Response | Treatment Materials |
| --- | --- | --- | --- |
| Small | up to 300 cc | chemical treatment or absorption | neutralization or absorption spill kit |
| Medium | 300 cc - 5 liters | absorption | absorption spill kit |
| Large | more than 5 liters | call Campus Control | outside help |

- Protect floor drains or other means for environmental release. Spill socks and absorbents may be placed around drains, as needed.

- Contain and clean-up the spill according to the table above.

- Loose spill control materials should be distributed over the entire spill area, working from the outside, circling to the inside. This reduces the chance of splash or spread of the spilled chemical.

- Bulk absorbents and many spill pillows do not work with hydrofluoric acid. POWERSORB (by 3M) products and their equivalent will handle hydrofluoric acid. Specialized hydrofluoric acid kits also are available.

- Many neutralizers for acids or bases have a color change indicator to show when neutralization is complete.

- When spilled materials have been absorbed, use brush and scoop to place materials in an appropriate container. Polyethylene bags may be used for small spills. 25 Liter pails or 100 liter drums with polyethylene liners may be appropriate for larger quantities.

- Complete a hazardous waste sticker, identifying the material as Spill Debris involving XYZ Chemical, and affix onto the container. Spill control materials will probably need to be disposed of as hazardous waste.  Decontaminate the surface where the spill occurred using a mild detergent and water, when appropriate.

- Report all spills to your supervisor or the lecturer or supervisor.

### Developing a Spill Response Plan

An effective spill response procedure should consider all of the items listed below. The complexity and detail of the plan will, of course depend upon the physical characteristics and volume of materials being handled, their potential toxicity, and the potential for releases to the environment.

- Review Material Safety Data Sheets (MSDSs) or other references for recommended spill cleanup methods and materials, and the need for personal protective equipment (e.g., respirator, gloves, protective clothing, etc.)

- Acquire sufficient quantities and types of appropriate spill control materials to contain any spills that can be reasonably anticipated. The need for equipment to disperse, collect and contain spill control materials (e.g., brushes, scoops, sealable containers, etc.) should also be reviewed.

- Acquire recommended personal protective equipment and training in its proper use. For example, if an air purifying respirator or self-contained breathing apparatus are needed, personnel must be enrolled in the Respiratory Protection Program and attend annual training and fit-testing.

- Place spill control materials and protective equipment in a readily accessible location within or immediately adjacent to the laboratory.

- Develop a spill response plan that includes:

  - Names and telephone numbers of individuals to be contacted in the event of a spill.

  - Evacuation plans for the room or building, as appropriate.

  - Instructions for containing the spilled material, including potential releases to the environment (e.g., protect floor drains).

  - Inventory of spill control materials and personal protective equipment.

  - Means for proper disposal of cleanup materials (in most cases, as hazardous waste) including contaminated tools and clothing.

  - Decontamination of the area following the cleanup.

### Recommended Spill Control Materials Inventory

Your laboratory or work area should have access to sufficient quantity of absorbents or other types of materials to control any spill that can be reasonably anticipated. Vermiculite, lined 25 liter pails and limited spill control materials should be available at all laboratories.

## Personal Protective Equipment

2 pairs chemical splash goggles

2 pairs of gloves (recommend Silver Shield or 4H)

2 pairs of shoe covers

2 plastic or Tyvek aprons and/or Tyvek suits

## Absorption Materials

4 3M POWERSORB spill pillows (or equivalent)

1 3M POWERSORB spill sock

2 DOT pails (25 liter) with polyethylene liners

1 filled with loose absorbent, such as vermiculite or clay

1 with minimum amount of loose absorbent in the bottom

## Neutralizing Materials

Acid Neutralizer

Caustic Neutralizer

commercial neutralizers, such as Neutrasorb (for acids) and Neutracit-2 (for bases) have built in color change to indicate complete neutralization

Solvent Neutralizer

commercial solvent neutralizers, such as Solusorb, act to reduce vapors and raise the flashpoint of the mixture

## Mercury Spills

Small mercury vacuum to pick up large drops (optional)

Hg Absorb Sponges - amalgamate mercury residue

Hg Absorb Powder - amalgamates mercury

Hg Vapor Absorbent - reduces concentration of vapor in hard to reach areas

Mercury Indicator - powder identifies presence of mercury

## Clean-up Tools

Polypropylene scoop or dust pan

Broom or brush with polypropylene bristles

2 polypropylene bags

sealing tape

pH test papers

waste stickers

floor sign - DANGER Chemical Spill - Keep Away

# APPENDIX A

RECORDING AND investigation OF IncidentS

A. RECORDING OF INCIDENT

- Name of employer: ________ – Line Manager _____________

- Name of affected person: _________________

- Identity / staff / student number of affected person: ___________

- Date of incident: _____________

- Time of incident: ________

- Part of body affected:

| Head or neck | Eye | Trunk | Finger | Hand |
| --- | --- | --- | --- | --- |
| Arm | Foot | Leg | Internal | Multiple |

- Effect on person:

| Sprains or strains | Contusion or wounds | Fractures | Burns | Amputation |
| --- | --- | --- | --- | --- |
| Electric shock | Asphyxiation | Unconsciousness | Poisoning | Occupational disease |

- Expected period of disablement:

| 0-13 days | 2-4 weeks | >4-16 weeks | >16-52 weeks | >52 weeks or permanent disablement | Killed |
| --- | --- | --- | --- | --- | --- |

- Description of occupational disease: ________

- Machine/process involved/type of work/exposure**: _________________________________

__________________________________________________________________________

- Was the incident reported to the Compensation Commissioner and Provincial Director?

| Yes | No |
| --- | --- |

- Was the incident reported to the Police?*

| Yes | No |
| --- | --- |

- SAPS office and reference: _____________

*to be completed in case of fatal incident

** in case of a hazardous chemical substance, indicate substance exposed to

_________________________________________________________________________________

_________________________________________________________________________________

B. INVESTIGATION OF THE ABOVE INCIDENT BY A PERSON DESIGNATED HERETO

- Name of investigator:

- Date of investigation:

- Designation of investigator:

- Short description of incident:

- Suspected cause of the incident:

- Recommended steps to prevent a recurrence:

Signature of Investigator								Date

C. ACTION TAKEN BY EMPLOYER TO PREVENT RECURRENCE OF INCIDENT

Signature of Employer									Date

D. REMARKS BY HEALTH AND SAFETY COMMITTEE

_________________________________________________________________________________

_________________________________________________________________________________

_________________________________________________________________________________

____________________							________________

Signature of Chairperson								Date

# APPENDIX B

Laboratory Inspection Checklist

Department: ______________________________________________

Laboratory: _______________________________________________

Date of Inspection: _________________________________________

Survey Member(s): ________________________________________

General & Miscellaneous Laboratory Safety

| Warning Signs & Information | Yes | No | N/A | Corrected |
| --- | --- | --- | --- | --- |
| Are hazard posters effectively posted at Laboratory’s entrance? |  |  |  |  |
| Are all emergency and evacuation procedures routinely updated and displayed? |  |  |  |  |
| Is the lighting in the laboratory adequate and in good condition? |  |  |  |  |
| Are there any water leaks, ceiling tiles removed or stained, wind draft, etc? |  |  |  |  |
| Are the garbage bins routinely emptied? |  |  |  |  |
| Is the information on how to reach the LSO, CHO and Medical Officers displayed and updated? |  |  |  |  |
| Is the temperature and humidity in the laboratory well controlled? |  |  |  |  |
| Are chemicals with exposure limits being monitored? |  |  |  |  |
| Safety Equipment |  |  |  |  |
| Are the personnel and students using the appropriate footwear, eye protection, laboratory coats, and gloves? |  |  |  |  |
| Are first aid kits in designated area, properly stocked and with their respective lists inside? |  |  |  |  |
| Have emergency numbers been posted on each phone? |  |  |  |  |
| Are fire extinguishers located in designated area, accessible and free from obstruction? Are they fully functional, labeled and currently updated. |  |  |  |  |
| Are safety showers and eye wash facilities accessible and free from obstruction? Are eye wash bottles regularly cleaned? |  |  |  |  |
| Are fume hoods labeled, working properly and have been inspected within the last 12 months? |  |  |  |  |
| Are missing or deteriorating labels being replaced? |  |  |  |  |
| Are fume hoods in good condition, sashes open and close, and glass intact? |  |  |  |  |
| Are emergency switches clearly identified for power and gas supply as well as easily accessible? |  |  |  |  |
| Are compressed gas cylinders properly labeled and certified? |  |  |  |  |
| Are the gas cylinders protected from external heat sources (at least 3m away) and stored in protected, and dry location? |  |  |  |  |
| Are gas cylinders properly secured with chains in upright position and supported to a rigid structure of the laboratory? |  |  |  |  |
| Are regulators, proper connections and tubing in good condition? |  |  |  |  |
| Are protective caps in place while gas cylinders are not in use nor connected for use? |  |  |  |  |
| Are specialized trolleys available for moving gas cylinders? |  |  |  |  |
| Are refrigerators and freezers adequately labeled identifying its content and hazard. |  |  |  |  |
| Are the interiors of refrigerators and freezers free of chemical spills or contamination and with containers tightly closed? |  |  |  |  |
| Are microwaves labeled “Laboratory Use Only” or “Food Only” and used accordingly? |  |  |  |  |
| Are electric apparatuses equipped with ground plugs or properly grounded? |  |  |  |  |
| Are extension cords in good condition and kept clear of any hazardous environment such as water, solvents or open flames. |  |  |  |  |
| Are high voltage equipments appropriately labeled? |  |  |  |  |
| Are laboratory apparatuses properly assembled and used in a safe manner? |  |  |  |  |
| Is damaged glassware in use (broken, chipped)? |  |  |  |  |
| Are bench tops clean and organized and the environment maintained in order to eliminate harmful exposure or unsafe conditions? |  |  |  |  |
| Does the laboratory have appropriate ventilation for the type of chemicals is use? |  |  |  |  |
| Is there an appropriate secondary containment to prevent spread of a major spill? |  |  |  |  |
| Chemical Safety |  |  |  |  |
| Is there an updated inventory of chemicals in the laboratory? |  |  |  |  |
| Are the Material Safety Data Sheets available for all chemicals present in the laboratory? |  |  |  |  |
| Are all chemical containers well labelled, capped and in good condition? |  |  |  |  |
| Are all original products named with full chemical names and hazards clearly identified on labels (e.g. “Ethanol, Flammable”) with no confusion or conflicting information? |  |  |  |  |
| Are all containers of non-hazardous substances (e.g. distilled water) labelled? |  |  |  |  |
| Are synthesized, unnamed chemicals labelled by their reactants and possible products or by their probable hazards? |  |  |  |  |
| Are containers of stock solutions properly identified (e.g. buffers labelled and marked as “BUFFERS with specific pH”)? |  |  |  |  |

| General Laboratory Storage | Yes | No | N/A | Corrected |
| --- | --- | --- | --- | --- |
| Are chemicals stored correctly and segregated by hazard (organic from oxidisers, flammable from acids)? |  |  |  |  |
| Are poisons, drugs, carcinogens, etc. kept in locked storage? |  |  |  |  |
| Are corrosive chemicals stored above “eye level”? |  |  |  |  |
| Are chemicals stored in completely separated storage room from gas cylinders? |  |  |  |  |
| Are all storage refrigerators spark proof or explosion safe? |  |  |  |  |
| Are locker / cabinets used for storage of large quantity chemical containers? |  |  |  |  |
| Is there a security/restricted access to the store area? |  |  |  |  |
| Is fire suppression or fire protection available in the laboratory? |  |  |  |  |
| Are flammables stored in combustible containers (e.g. Nalgene)? |  |  |  |  |
| Are highly flammable liquids stored away from sources of heat and ignition (including Bunsen burners in fume hoods)? |  |  |  |  |
| Is ventilation sufficient to prevent build-up of offensive odours? |  |  |  |  |
| Hazardous Waste Disposal |  |  |  |  |
| Are approved methods of disposal for all chemicals in laboratory being used? |  |  |  |  |
| Are the waste containers clearly labelled and the chemicals identified? |  |  |  |  |
| Are waste containers sturdy, routinely inspected for leaks and kept closed using tight-fitting closure? |  |  |  |  |
| Are waste containers compatible with the chemical waste? |  |  |  |  |
| Are the waste containers segregated by compatible storage group system and in secondary container(s)? |  |  |  |  |
| Training |  |  |  |  |
| Are personnel and students aware of the procedures in place for use of high-risk chemicals? |  |  |  |  |
| Are personnel and students familiar with spill cleanup requirements for their chemicals? |  |  |  |  |
| Are personnel and students familiar with the Laboratory Safety Manual? |  |  |  |  |
| General Biohazard Safety |  |  |  |  |
| Are safe work practices in place for laboratory techniques including minimisation of aerosols? |  |  |  |  |
| Are autoclave procedures available for disinfection? |  |  |  |  |
| Are biohazard waste containers rigid, labelled and with lids? |  |  |  |  |
| Are biohazard waste containers used properly where needed (e.g. autoclave, bags, sharps containers, etc.)? |  |  |  |  |
| Is staff aware of decontamination procedures established? |  |  |  |  |
| Have all laboratory personnel and students been provided with information on appropriate vaccination? |  |  |  |  |
| Is specialised personal protective equipment available for use by the laboratory personnel and students? |  |  |  |  |
| Remarks: Action Required? By Whom? By When? Date actions are completed: |  |  |  |  |

# APPENDIX C

Chemical Exposure Checklist

Name:

| Date | Chemical /Concentration | Vapour/ Liquid/ Solid | Exposure time (hrs or days) | Type of protection used | Quantity | Fume Cupboard |
| --- | --- | --- | --- | --- | --- | --- |
| 01-01-2005 | NaCl | S | 8hrs | Gloves | 100 g | No |
| 02-01-2005 | Nitric Acid (conc) | L | 2hrs | Gloves | 2L | Yes |

# APPENDIX D

Material Safety Data Sheet Format

Occupational Health and Safety Act, 1993
Hazardous Chemical Substances Regulations, 1995
Annexure 8 : Material safety data sheet

| MATERIAL SAFETY DATA SHEET | No: Date issued: Page of |
| --- | --- |
| COMPANY DETAILS |  |
| Name: Address: Tel: | Emergency telephone no.: Telex: Fax: |
| 1) Product and Company Identification: (Page 1 may be used as an emergency safety data sheet) |  |
| Trade name : Chemical family : Chemical name: Synonyms: | Chemical abstract no. : NIOSH no.: Hazchem code: UN no.: |
| 2) Composition |  |
| Hazardous components: EEC classification: R Phrases: |  |
| 3) Hazards Identification |  |
| Main hazard: Flammability: Chemical hazard Biological hazard: Reproductive hazard: Eye effects: eyes: Health effects - skin: Health effects - ingestion: Health effects - inhalation: Carcinogenicity: Mutagenicity: Neurotoxicity: |  |
| 4) First-aid Measures |  |
| Product in eye: Product on skin: Product ingested: Product inhaled: |  |
| 5) Fire-fighting Measures |  |
| Extinguishing media: Special hazards: Protective clothing: |  |
| 6) Accidental Release Measures |  |
| Personal precautions: Environmental precautions: Small spills: Large spills: |  |
| 7) Handling and Storage |  |
| Suitable material: Handling/storage precautions: |  |
| 8) Exposure Control/Personal Protection |  |
| Occupational exposure limits: Engineering control measures: Personal protection - respiratory: Personal protection - hand: Personal protection - eye: Personal protection - skin: Other protection: |  |
| 9) Physical and Chemical Properties |  |
| Appearance: Odour: pH: Boiling point: Melting point: Flash point: Flammability: Auto flammability: Explosive properties: Oxidizing properties: Vapour pressure: Density: Solubility - water: Solubility - solvent: Solubility - coefficient |  |
| 10) Stability and Reactivity |  |
| Conditions to avoid: Incompatible materials: Hazardous decomposition products: |  |
| 11) Toxicological Information |  |
| Acute toxicity: Skin and eye contact: Chronic toxicity: Carcinogenicity: Mutagenicity: Neurotoxicity: Reproductive hazards: |  |
| 12) Ecological Information |  |
| Aquatic toxicity - fish: Aquatic toxicity - daphnia Aquatic toxicity - algae Biodegradability: Bio-accumulation: Mobility: German wgk: |  |
| 13) Disposal Considerations |  |
| Disposal methods: Disposal of packaging: |  |
| 14) Transport Information |  |
| UN no. Substance indentity no. ADR/RID class: ADR/RID item no. ADR/RID hazard identity no.: IMDG - shipping name: MDG - class: IMDG - packaging group: IMDG - marine pollutant: IMDG - EMS no. IMDG - WAG tabel no.: IATA - shipping name: IATA - class: IATA - subsidiary risk(s): ADNR - class: UK - description: UK - emergency action class: UK - classification: Tremcard no.: |  |
| 15) Regulatory Information. |  |
| EEC hazard classification: Risk phases: Safety phases: National legislation: |  |
| 16) Other Information |  |

# APPENDIX E

Waste Disposal Procedure

Generation and Lab Storage

    - Minimization

Recovery of Acetone, Methanol and Ethanol from waste should be done where possible. Specific distillation recovery procedures an be obtained from the CHO.

    - No mixing of waste

Use the same waste bottle for one project only. Do not mix non-compatible waste, especially if the reactivity of the chemicals is not known.

    - Primary Storage

Use 2.5L Winchester Bottles. Keep on laboratory benches until 3 Winchester bottles have been filled per project. See example below for a waste indication label.

    - Waste must be separated according to the following classes.

Inorganic waste	 Arsenic waste

Organic waste	Mercury waste

Organic solvents	Selenium waste

Chlorinated organic solvents	Heavy metal waste

Inorganic chlorinated waste	Inorganic Chromate waste

    - Handle one bottle at a time

Use one hand to hold the neck right under the lid and the other hand supporting the weight of the bottle underneath.

    - Secondary Storage

Once 3 Winchester bottles containing the same class of waste have been collected, they must be decanted into a 25L drum. NB: The empty waste bottles may not be used again.  The drum must be properly labelled according to the specifications in point 4. Decanting and handling of waste must be done with proper safety equipment in place (nitrile gloves, closed shoes and safety goggles.)

    - Filled Secondary storage drums

Once the 25L drum is full, a samples must be taken for the determination of organic waste (10mL) and inorganic waste (500mL). Contact the Chemical Hygiene Officer for removal by WasteTech. The CHO will only remove drums that are correctly labelled (with a duplicate label) and the content samples analyzed accordingly.

    - Empty Waste Bottles

Once more than 3 empty waste bottles have been collected, contact the CHO for disposal procedures.

    - Transportation to Collection Area

9.1 Once more than 10 25L drums have been collected, Waste Tech will be notified by the CHO for collection and disposal.

9.2 The drums are to be carefully transported using a trolley to a safe demarcated area, and kept in a blue plastic spill box. Not more than 2 drums or 2 plastic spill proof boxes may be transported at a time.

9.3 The glass waste bottles are to be broken into the Waste Tech skip.

9.4 Necessary documentation needs to be completed and a record kept by the CHO.

-----------------------------------------------------------------------------------------------------------------

Chemistry Department

Chrome Waste

Content:_______________________________________________________________

Name:_______________________________________________________________

Project Leader: ________________________________________________________

Date:_________________________________________________________________

# APPENDIX F

Example of Chemical Exposure Data Sheet

- Occupational Health and Safety Act, 1993
Hazardous Chemical Substances Regulations, 1995 
Annexure 1
Carcinogenic Compounds

| Substance | Carcinogenicity |
| --- | --- |
| Acetaldehyde CH3CHO | Animal Carcinogen |
| Acrylamide CH2=CHCONH2 | Suspected Human Carcinogen |
| Acrylonitrile CH2=CHCN | Suspected Human Carcinogen |
| Aldrin C12H8Cl6 | Suspected Human Carcinogen |
| Allyl Chloride CH2=CHCH2Cl | Suspected Human Carcinogen |
| 4-Aminodiphenyl | Confirmed Human Carcinogen |
| Amitrole | Suspected Human Carcinogen |
| Aniline and homologues C6H5NH2 | Suspected Human Carcinogen |
| Anisidine (o & p) isomers NH2C6H4OCH3 | Suspected Human Carcinogen |
| Antimony compounds - as Sb Sb | Suspected Human Carcinogen |
| Arsenic and compounds except Arsine (as As) As | Confirmed Human Carcinogen |
| Arsine AsH3 | Suspected Human Carcinogen |
| Asbestos - all forms | Confirmed Human Carcinogen |
| Asphalt - petroleum fumes | Suspected Human Carcinogen |
| Benz(a)anthracene | Suspected Human Carcinogen |
| Benzene C6H6 | Confirmed Human Carcinogen |
| Benzidine | Confirmed Human Carcinogen |
| Benzo(b)flouranthene | Suspected Human Carcinogen |
| Benzo(a)pyrene | Suspected Human Carcinogen |
| Benzyl acetate | Animal Carcinogen |
| Benzyl Chloride C6H5CH2Cl | Suspected Human Carcinogen |
| Beryllium and compounds - as Be Be | Suspected Human Carcinogen |
| 1,3-Butadiene (Buta-1,3-diene) CH2=CHCH=CH2 | Suspected Human Carcinogen |
| tert-Butyl Chromate - as CrO3 | Suspected Human Carcinogen |
| Cadmium compounds Cd | Suspected Human Carcinogen |
| Calcium Chromate | Suspected Human Carcinogen |
| Captafol (ISO) C10H9Cl4NO2S | Suspected Human Carcinogen |
| Captan (ISO) C9H8Cl3NO2S | Suspected Human Carcinogen |
| Carbon Black C | Suspected Human Carcinogen |
| Carbon Tetrachloride CCl4 | Animal Carcinogen |
| Chlordane (ISO) C10H6Cl8 | Suspected Human Carcinogen |
| Chlorinated Camphene (Toxaphene) | Suspected Human Carcinogen |
| Chlorodiphenyl (42% Chlorine) | Suspected Human Carcinogen |
| Chlorodiphenyl (54% Chlorine) | Suspected Human Carcinogen |
| Chloroform CHCl3 | Suspected Human Carcinogen |
| bis(Chloromethyl) ether | Confirmed Human Carcinogen |
| Chloromethyl methyl ether | Suspected Human Carcinogen |
| beta-Chloroprene CH2=CClCH=CH2 | Suspected Human Carcinogen |
| Chromite Ore processing - as Cr | Confirmed Human Carcinogen |
| Chromium IV compounds | Confirmed Human Carcinogen |

Occupational Health and Safety Act, 1993
Hazardous Chemical Substances Regulations, 1995 
Annexure 1
Occupational Exposure Limits - Recommended Limits

| Substance | TWA OEL-RL ppm | TWA OEL-RL mg/m³ | Short Term OEL-RL ppm | Short Term OEL-RL mg/m³ |
| --- | --- | --- | --- | --- |
| Acetaldehyde CH3CHO | 100 | 180 | 150 | 270 |
| Acetic acid CH3COOH | 10 | 25 | 15 | 37 |
| Acetic anhydride (CH3CO)20 | - | - | 5 | 20 |
| Acetone CH3COCH3 | 750 | 1780 | 1500 | 3560 |
| Acetonitrile CH3CN | 40 | 70 | 60 | 105 |
| o-Acetyl Salicylic Acid (Aspirin) CH3COOC6H4COOH | - | 5 | - | - |
| Acrolein (Acrylaldehyde) CH2=CHCHO | 0.1 | 0.25 | 0.3 | 0.8 |
| Acrylic acid CH2=CHCOOH | 10 | 30 | 20 | 60 |
| Aldrin (ISO) C12H8Cl6 | - | 0.25 | - | 0.75 |
| Allyl Alcohol CH2=CHCH2OH | 2 | 5 | 4 | 10 |
| Allyl Chloride CH2=CHCH2Cl | 1 | 3 | 2 | 6 |
| 1-Allyl-2,3-epoxypropyl ether CH2=CHCH2OCH2CHCH2O | 5 | 22 | 10 | 44 |
| Allyl glycidyl ether (AGE) CH2CHCH2OCH2CHCH2O | 5 | 22 | 10 | 44 |
| Aluminium - Alkyls | - | 2 | - | - |
| Aluminium - Metal Dust | - | 10, 5 | - | - |
| Aluminium Oxides Al2O3, Al(OH)3, AlOOH | - | 10, 5 | - | - |
| Aluminium - Soluble salts | - | 2 | - | - |
| Aminodimethylbenzene (CH3)2C6H3NH2 | 2 | 10 | 10 | 50 |
| 2-Aminoethanol NH2CH2CH2OH | 3 | 8 | 6 | 15 |
| 2-Aminopyridine NH2C5H4N | 0.5 | 2 | 2 | 8 |
| Ammonia NH3 | 25 | 17 | 35 | 24 |
| Ammonium Chloride - Fumes NH4Cl | - | 10 | - | 20 |
| Ammonium Sulphamidate NH2SO3NH4 | - | 10 | - | 20 |
| n-Amyl Acetate CH3COOC5H11 | 100 | 530 | 150 | 800 |
| sec-Amyl Acetate CH3COOCH(CH3)C3H7 | - | - | 150 | 800 |
| Aniline and homologues C6H5NH2 | 2 | 10 | 5 | 20 |
| Anisidine (o & p) isomers NH2C6H4OCH3 | 0.1 | 0.5 | - | - |
| Antimony compounds - as Sb Sb | - | 0.5 | - | - |
| Arsine AsH3 | 0.05 | 0.2 | - | - |
| Asphalt - petroleum fumes | - | 5 | - | 10 |
| Asprin CH3COOC6H4COOH | - | 5 | - | 10 |